中华人民共和国国务院令

第739号

《医疗器械监督管理条例》已经2020年12月21日国务院第119次常务会议修订通过，现予公布，自2021年6月1日起施行。

总　理　　李克强

2021年2月9日

医疗器械监督管理条例

（2000年1月4日中华人民共和国国务院令第276号公布　2014年2月12日国务院第39次常务会议修订通过　根据2017年5月4日《国务院关于修改〈医疗器械监督管理条例〉的决定》修订　2020年12月21日国务院第119次常务会议修订通过）

第一章  总  则

第一条  为了保证医疗器械的安全、有效，保障人体健康和生命安全，促进医疗器械产业发展，制定本条例。

第二条  在中华人民共和国境内从事医疗器械的研制、生产、经营、使用活动及其监督管理，适用本条例。

第三条  国务院药品监督管理部门负责全国医疗器械监督管理工作。

国务院有关部门在各自的职责范围内负责与医疗器械有关的监督管理工作。

第四条  县级以上地方人民政府应当加强对本行政区域的医疗器械监督管理工作的领导，组织协调本行政区域内的医疗器械监督管理工作以及突发事件应对工作，加强医疗器械监督管理能力建设，为医疗器械安全工作提供保障。

县级以上地方人民政府负责药品监督管理的部门负责本行政区域的医疗器械监督管理工作。县级以上地方人民政府有关部门在各自的职责范围内负责与医疗器械有关的监督管理工作。

第五条  医疗器械监督管理遵循风险管理、全程管控、科学监管、社会共治的原则。

第六条  国家对医疗器械按照风险程度实行分类管理。

第一类是风险程度低，实行常规管理可以保证其安全、有效的医疗器械。

第二类是具有中度风险，需要严格控制管理以保证其安全、有效的医疗器械。

第三类是具有较高风险，需要采取特别措施严格控制管理以保证其安全、有效的医疗器械。

评价医疗器械风险程度，应当考虑医疗器械的预期目的、结构特征、使用方法等因素。

国务院药品监督管理部门负责制定医疗器械的分类规则和分类目录，并根据医疗器械生产、经营、使用情况，及时对医疗器械的风险变化进行分析、评价，对分类规则和分类目录进行调整。制定、调整分类规则和分类目录，应当充分听取医疗器械注册人、备案人、生产经营企业以及使用单位、行业组织的意见，并参考国际医疗器械分类实践。医疗器械分类规则和分类目录应当向社会公布。

第七条  医疗器械产品应当符合医疗器械强制性国家标准；尚无强制性国家标准的，应当符合医疗器械强制性行业标准。

第八条  国家制定医疗器械产业规划和政策，将医疗器械创新纳入发展重点，对创新医疗器械予以优先审评审批，支持创新医疗器械临床推广和使用，推动医疗器械产业高质量发展。国务院药品监督管理部门应当配合国务院有关部门，贯彻实施国家医疗器械产业规划和引导政策。

第九条  国家完善医疗器械创新体系，支持医疗器械的基础研究和应用研究，促进医疗器械新技术的推广和应用，在科技立项、融资、信贷、招标采购、医疗保险等方面予以支持。支持企业设立或者联合组建研制机构，鼓励企业与高等学校、科研院所、医疗机构等合作开展医疗器械的研究与创新，加强医疗器械知识产权保护，提高医疗器械自主创新能力。

第十条  国家加强医疗器械监督管理信息化建设，提高在线政务服务水平，为医疗器械行政许可、备案等提供便利。

第十一条  医疗器械行业组织应当加强行业自律，推进诚信体系建设，督促企业依法开展生产经营活动，引导企业诚实守信。

第十二条  对在医疗器械的研究与创新方面做出突出贡献的单位和个人，按照国家有关规定给予表彰奖励。

第二章  医疗器械产品注册与备案

第十三条  第一类医疗器械实行产品备案管理，第二类、第三类医疗器械实行产品注册管理。

医疗器械注册人、备案人应当加强医疗器械全生命周期质量管理，对研制、生产、经营、使用全过程中医疗器械的安全性、有效性依法承担责任。

第十四条  第一类医疗器械产品备案和申请第二类、第三类医疗器械产品注册，应当提交下列资料：

（一）产品风险分析资料；

（二）产品技术要求；

（三）产品检验报告；

（四）临床评价资料；

（五）产品说明书以及标签样稿；

（六）与产品研制、生产有关的质量管理体系文件；

（七）证明产品安全、有效所需的其他资料。

产品检验报告应当符合国务院药品监督管理部门的要求，可以是医疗器械注册申请人、备案人的自检报告，也可以是委托有资质的医疗器械检验机构出具的检验报告。

符合本条例第二十四条规定的免于进行临床评价情形的，可以免于提交临床评价资料。

医疗器械注册申请人、备案人应当确保提交的资料合法、真实、准确、完整和可追溯。

第十五条  第一类医疗器械产品备案，由备案人向所在地设区的市级人民政府负责药品监督管理的部门提交备案资料。

向我国境内出口第一类医疗器械的境外备案人，由其指定的我国境内企业法人向国务院药品监督管理部门提交备案资料和备案人所在国（地区）主管部门准许该医疗器械上市销售的证明文件。未在境外上市的创新医疗器械，可以不提交备案人所在国（地区）主管部门准许该医疗器械上市销售的证明文件。

备案人向负责药品监督管理的部门提交符合本条例规定的备案资料后即完成备案。负责药品监督管理的部门应当自收到备案资料之日起5个工作日内，通过国务院药品监督管理部门在线政务服务平台向社会公布备案有关信息。

备案资料载明的事项发生变化的，应当向原备案部门变更备案。

第十六条  申请第二类医疗器械产品注册，注册申请人应当向所在地省、自治区、直辖市人民政府药品监督管理部门提交注册申请资料。申请第三类医疗器械产品注册，注册申请人应当向国务院药品监督管理部门提交注册申请资料。

向我国境内出口第二类、第三类医疗器械的境外注册申请人，由其指定的我国境内企业法人向国务院药品监督管理部门提交注册申请资料和注册申请人所在国（地区）主管部门准许该医疗器械上市销售的证明文件。未在境外上市的创新医疗器械，可以不提交注册申请人所在国（地区）主管部门准许该医疗器械上市销售的证明文件。

国务院药品监督管理部门应当对医疗器械注册审查程序和要求作出规定，并加强对省、自治区、直辖市人民政府药品监督管理部门注册审查工作的监督指导。

第十七条  受理注册申请的药品监督管理部门应当对医疗器械的安全性、有效性以及注册申请人保证医疗器械安全、有效的质量管理能力等进行审查。

受理注册申请的药品监督管理部门应当自受理注册申请之日起3个工作日内将注册申请资料转交技术审评机构。技术审评机构应当在完成技术审评后，将审评意见提交受理注册申请的药品监督管理部门作为审批的依据。

受理注册申请的药品监督管理部门在组织对医疗器械的技术审评时认为有必要对质量管理体系进行核查的，应当组织开展质量管理体系核查。

第十八条  受理注册申请的药品监督管理部门应当自收到审评意见之日起20个工作日内作出决定。对符合条件的，准予注册并发给医疗器械注册证；对不符合条件的，不予注册并书面说明理由。

受理注册申请的药品监督管理部门应当自医疗器械准予注册之日起5个工作日内，通过国务院药品监督管理部门在线政务服务平台向社会公布注册有关信息。

第十九条  对用于治疗罕见疾病、严重危及生命且尚无有效治疗手段的疾病和应对公共卫生事件等急需的医疗器械，受理注册申请的药品监督管理部门可以作出附条件批准决定，并在医疗器械注册证中载明相关事项。

出现特别重大突发公共卫生事件或者其他严重威胁公众健康的紧急事件，国务院卫生主管部门根据预防、控制事件的需要提出紧急使用医疗器械的建议，经国务院药品监督管理部门组织论证同意后可以在一定范围和期限内紧急使用。

第二十条  医疗器械注册人、备案人应当履行下列义务：

（一）建立与产品相适应的质量管理体系并保持有效运行；

（二）制定上市后研究和风险管控计划并保证有效实施；

（三）依法开展不良事件监测和再评价；

（四）建立并执行产品追溯和召回制度；

（五）国务院药品监督管理部门规定的其他义务。

境外医疗器械注册人、备案人指定的我国境内企业法人应当协助注册人、备案人履行前款规定的义务。

第二十一条  已注册的第二类、第三类医疗器械产品，其设计、原材料、生产工艺、适用范围、使用方法等发生实质性变化，有可能影响该医疗器械安全、有效的，注册人应当向原注册部门申请办理变更注册手续；发生其他变化的，应当按照国务院药品监督管理部门的规定备案或者报告。

第二十二条  医疗器械注册证有效期为5年。有效期届满需要延续注册的，应当在有效期届满6个月前向原注册部门提出延续注册的申请。

除有本条第三款规定情形外，接到延续注册申请的药品监督管理部门应当在医疗器械注册证有效期届满前作出准予延续的决定。逾期未作决定的，视为准予延续。

有下列情形之一的，不予延续注册：

（一）未在规定期限内提出延续注册申请；

（二）医疗器械强制性标准已经修订，申请延续注册的医疗器械不能达到新要求；

（三）附条件批准的医疗器械，未在规定期限内完成医疗器械注册证载明事项。

第二十三条  对新研制的尚未列入分类目录的医疗器械，申请人可以依照本条例有关第三类医疗器械产品注册的规定直接申请产品注册，也可以依据分类规则判断产品类别并向国务院药品监督管理部门申请类别确认后依照本条例的规定申请产品注册或者进行产品备案。

直接申请第三类医疗器械产品注册的，国务院药品监督管理部门应当按照风险程度确定类别，对准予注册的医疗器械及时纳入分类目录。申请类别确认的，国务院药品监督管理部门应当自受理申请之日起20个工作日内对该医疗器械的类别进行判定并告知申请人。

第二十四条  医疗器械产品注册、备案，应当进行临床评价；但是符合下列情形之一，可以免于进行临床评价：

（一）工作机理明确、设计定型，生产工艺成熟，已上市的同品种医疗器械临床应用多年且无严重不良事件记录，不改变常规用途的；

（二）其他通过非临床评价能够证明该医疗器械安全、有效的。

国务院药品监督管理部门应当制定医疗器械临床评价指南。

第二十五条  进行医疗器械临床评价，可以根据产品特征、临床风险、已有临床数据等情形，通过开展临床试验，或者通过对同品种医疗器械临床文献资料、临床数据进行分析评价，证明医疗器械安全、有效。

按照国务院药品监督管理部门的规定，进行医疗器械临床评价时，已有临床文献资料、临床数据不足以确认产品安全、有效的医疗器械，应当开展临床试验。

第二十六条  开展医疗器械临床试验，应当按照医疗器械临床试验质量管理规范的要求，在具备相应条件的临床试验机构进行，并向临床试验申办者所在地省、自治区、直辖市人民政府药品监督管理部门备案。接受临床试验备案的药品监督管理部门应当将备案情况通报临床试验机构所在地同级药品监督管理部门和卫生主管部门。

医疗器械临床试验机构实行备案管理。医疗器械临床试验机构应当具备的条件以及备案管理办法和临床试验质量管理规范，由国务院药品监督管理部门会同国务院卫生主管部门制定并公布。

国家支持医疗机构开展临床试验，将临床试验条件和能力评价纳入医疗机构等级评审，鼓励医疗机构开展创新医疗器械临床试验。

第二十七条  第三类医疗器械临床试验对人体具有较高风险的，应当经国务院药品监督管理部门批准。国务院药品监督管理部门审批临床试验，应当对拟承担医疗器械临床试验的机构的设备、专业人员等条件，该医疗器械的风险程度，临床试验实施方案，临床受益与风险对比分析报告等进行综合分析，并自受理申请之日起60个工作日内作出决定并通知临床试验申办者。逾期未通知的，视为同意。准予开展临床试验的，应当通报临床试验机构所在地省、自治区、直辖市人民政府药品监督管理部门和卫生主管部门。

临床试验对人体具有较高风险的第三类医疗器械目录由国务院药品监督管理部门制定、调整并公布。

第二十八条  开展医疗器械临床试验，应当按照规定进行伦理审查，向受试者告知试验目的、用途和可能产生的风险等详细情况，获得受试者的书面知情同意；受试者为无民事行为能力人或者限制民事行为能力人的，应当依法获得其监护人的书面知情同意。

开展临床试验，不得以任何形式向受试者收取与临床试验有关的费用。

第二十九条  对正在开展临床试验的用于治疗严重危及生命且尚无有效治疗手段的疾病的医疗器械，经医学观察可能使患者获益，经伦理审查、知情同意后，可以在开展医疗器械临床试验的机构内免费用于其他病情相同的患者，其安全性数据可以用于医疗器械注册申请。

第三章  医疗器械生产

第三十条  从事医疗器械生产活动，应当具备下列条件：

（一）有与生产的医疗器械相适应的生产场地、环境条件、生产设备以及专业技术人员；

（二）有能对生产的医疗器械进行质量检验的机构或者专职检验人员以及检验设备；

（三）有保证医疗器械质量的管理制度；

（四）有与生产的医疗器械相适应的售后服务能力；

（五）符合产品研制、生产工艺文件规定的要求。

第三十一条  从事第一类医疗器械生产的，应当向所在地设区的市级人民政府负责药品监督管理的部门备案，在提交符合本条例第三十条规定条件的有关资料后即完成备案。

医疗器械备案人自行生产第一类医疗器械的，可以在依照本条例第十五条规定进行产品备案时一并提交符合本条例第三十条规定条件的有关资料，即完成生产备案。

第三十二条  从事第二类、第三类医疗器械生产的，应当向所在地省、自治区、直辖市人民政府药品监督管理部门申请生产许可并提交其符合本条例第三十条规定条件的有关资料以及所生产医疗器械的注册证。

受理生产许可申请的药品监督管理部门应当对申请资料进行审核，按照国务院药品监督管理部门制定的医疗器械生产质量管理规范的要求进行核查，并自受理申请之日起20个工作日内作出决定。对符合规定条件的，准予许可并发给医疗器械生产许可证；对不符合规定条件的，不予许可并书面说明理由。

医疗器械生产许可证有效期为5年。有效期届满需要延续的，依照有关行政许可的法律规定办理延续手续。

第三十三条  医疗器械生产质量管理规范应当对医疗器械的设计开发、生产设备条件、原材料采购、生产过程控制、产品放行、企业的机构设置和人员配备等影响医疗器械安全、有效的事项作出明确规定。

第三十四条  医疗器械注册人、备案人可以自行生产医疗器械，也可以委托符合本条例规定、具备相应条件的企业生产医疗器械。

委托生产医疗器械的，医疗器械注册人、备案人应当对所委托生产的医疗器械质量负责，并加强对受托生产企业生产行为的管理，保证其按照法定要求进行生产。医疗器械注册人、备案人应当与受托生产企业签订委托协议，明确双方权利、义务和责任。受托生产企业应当依照法律法规、医疗器械生产质量管理规范、强制性标准、产品技术要求和委托协议组织生产，对生产行为负责，并接受委托方的监督。

具有高风险的植入性医疗器械不得委托生产，具体目录由国务院药品监督管理部门制定、调整并公布。

第三十五条  医疗器械注册人、备案人、受托生产企业应当按照医疗器械生产质量管理规范，建立健全与所生产医疗器械相适应的质量管理体系并保证其有效运行；严格按照经注册或者备案的产品技术要求组织生产，保证出厂的医疗器械符合强制性标准以及经注册或者备案的产品技术要求。

医疗器械注册人、备案人、受托生产企业应当定期对质量管理体系的运行情况进行自查，并按照国务院药品监督管理部门的规定提交自查报告。

第三十六条  医疗器械的生产条件发生变化，不再符合医疗器械质量管理体系要求的，医疗器械注册人、备案人、受托生产企业应当立即采取整改措施；可能影响医疗器械安全、有效的，应当立即停止生产活动，并向原生产许可或者生产备案部门报告。

第三十七条  医疗器械应当使用通用名称。通用名称应当符合国务院药品监督管理部门制定的医疗器械命名规则。

第三十八条  国家根据医疗器械产品类别，分步实施医疗器械唯一标识制度，实现医疗器械可追溯，具体办法由国务院药品监督管理部门会同国务院有关部门制定。

第三十九条  医疗器械应当有说明书、标签。说明书、标签的内容应当与经注册或者备案的相关内容一致，确保真实、准确。

医疗器械的说明书、标签应当标明下列事项：

（一）通用名称、型号、规格；

（二）医疗器械注册人、备案人、受托生产企业的名称、地址以及联系方式；

（三）生产日期，使用期限或者失效日期；

（四）产品性能、主要结构、适用范围；

（五）禁忌、注意事项以及其他需要警示或者提示的内容；

（六）安装和使用说明或者图示；

（七）维护和保养方法，特殊运输、贮存的条件、方法；

（八）产品技术要求规定应当标明的其他内容。

第二类、第三类医疗器械还应当标明医疗器械注册证编号。

由消费者个人自行使用的医疗器械还应当具有安全使用的特别说明。

第四章  医疗器械经营与使用

第四十条  从事医疗器械经营活动，应当有与经营规模和经营范围相适应的经营场所和贮存条件，以及与经营的医疗器械相适应的质量管理制度和质量管理机构或者人员。

第四十一条  从事第二类医疗器械经营的，由经营企业向所在地设区的市级人民政府负责药品监督管理的部门备案并提交符合本条例第四十条规定条件的有关资料。

按照国务院药品监督管理部门的规定，对产品安全性、有效性不受流通过程影响的第二类医疗器械，可以免于经营备案。

第四十二条  从事第三类医疗器械经营的，经营企业应当向所在地设区的市级人民政府负责药品监督管理的部门申请经营许可并提交符合本条例第四十条规定条件的有关资料。

受理经营许可申请的负责药品监督管理的部门应当对申请资料进行审查，必要时组织核查，并自受理申请之日起20个工作日内作出决定。对符合规定条件的，准予许可并发给医疗器械经营许可证；对不符合规定条件的，不予许可并书面说明理由。

医疗器械经营许可证有效期为5年。有效期届满需要延续的，依照有关行政许可的法律规定办理延续手续。

第四十三条  医疗器械注册人、备案人经营其注册、备案的医疗器械，无需办理医疗器械经营许可或者备案，但应当符合本条例规定的经营条件。

第四十四条  从事医疗器械经营，应当依照法律法规和国务院药品监督管理部门制定的医疗器械经营质量管理规范的要求，建立健全与所经营医疗器械相适应的质量管理体系并保证其有效运行。

第四十五条  医疗器械经营企业、使用单位应当从具备合法资质的医疗器械注册人、备案人、生产经营企业购进医疗器械。购进医疗器械时，应当查验供货者的资质和医疗器械的合格证明文件，建立进货查验记录制度。从事第二类、第三类医疗器械批发业务以及第三类医疗器械零售业务的经营企业，还应当建立销售记录制度。

记录事项包括：

（一）医疗器械的名称、型号、规格、数量；

（二）医疗器械的生产批号、使用期限或者失效日期、销售日期；

（三）医疗器械注册人、备案人和受托生产企业的名称；

（四）供货者或者购货者的名称、地址以及联系方式；

（五）相关许可证明文件编号等。

进货查验记录和销售记录应当真实、准确、完整和可追溯，并按照国务院药品监督管理部门规定的期限予以保存。国家鼓励采用先进技术手段进行记录。

第四十六条  从事医疗器械网络销售的，应当是医疗器械注册人、备案人或者医疗器械经营企业。从事医疗器械网络销售的经营者，应当将从事医疗器械网络销售的相关信息告知所在地设区的市级人民政府负责药品监督管理的部门，经营第一类医疗器械和本条例第四十一条第二款规定的第二类医疗器械的除外。

为医疗器械网络交易提供服务的电子商务平台经营者应当对入网医疗器械经营者进行实名登记，审查其经营许可、备案情况和所经营医疗器械产品注册、备案情况，并对其经营行为进行管理。电子商务平台经营者发现入网医疗器械经营者有违反本条例规定行为的，应当及时制止并立即报告医疗器械经营者所在地设区的市级人民政府负责药品监督管理的部门；发现严重违法行为的，应当立即停止提供网络交易平台服务。

第四十七条  运输、贮存医疗器械，应当符合医疗器械说明书和标签标示的要求；对温度、湿度等环境条件有特殊要求的，应当采取相应措施，保证医疗器械的安全、有效。

第四十八条  医疗器械使用单位应当有与在用医疗器械品种、数量相适应的贮存场所和条件。医疗器械使用单位应当加强对工作人员的技术培训，按照产品说明书、技术操作规范等要求使用医疗器械。

医疗器械使用单位配置大型医用设备，应当符合国务院卫生主管部门制定的大型医用设备配置规划，与其功能定位、临床服务需求相适应，具有相应的技术条件、配套设施和具备相应资质、能力的专业技术人员，并经省级以上人民政府卫生主管部门批准，取得大型医用设备配置许可证。

大型医用设备配置管理办法由国务院卫生主管部门会同国务院有关部门制定。大型医用设备目录由国务院卫生主管部门商国务院有关部门提出，报国务院批准后执行。

第四十九条  医疗器械使用单位对重复使用的医疗器械，应当按照国务院卫生主管部门制定的消毒和管理的规定进行处理。

一次性使用的医疗器械不得重复使用，对使用过的应当按照国家有关规定销毁并记录。一次性使用的医疗器械目录由国务院药品监督管理部门会同国务院卫生主管部门制定、调整并公布。列入一次性使用的医疗器械目录，应当具有充足的无法重复使用的证据理由。重复使用可以保证安全、有效的医疗器械，不列入一次性使用的医疗器械目录。对因设计、生产工艺、消毒灭菌技术等改进后重复使用可以保证安全、有效的医疗器械，应当调整出一次性使用的医疗器械目录，允许重复使用。

第五十条  医疗器械使用单位对需要定期检查、检验、校准、保养、维护的医疗器械，应当按照产品说明书的要求进行检查、检验、校准、保养、维护并予以记录，及时进行分析、评估，确保医疗器械处于良好状态，保障使用质量；对使用期限长的大型医疗器械，应当逐台建立使用档案，记录其使用、维护、转让、实际使用时间等事项。记录保存期限不得少于医疗器械规定使用期限终止后5年。

第五十一条  医疗器械使用单位应当妥善保存购入第三类医疗器械的原始资料，并确保信息具有可追溯性。

使用大型医疗器械以及植入和介入类医疗器械的，应当将医疗器械的名称、关键性技术参数等信息以及与使用质量安全密切相关的必要信息记载到病历等相关记录中。

第五十二条  发现使用的医疗器械存在安全隐患的，医疗器械使用单位应当立即停止使用，并通知医疗器械注册人、备案人或者其他负责产品质量的机构进行检修；经检修仍不能达到使用安全标准的医疗器械，不得继续使用。

第五十三条  对国内尚无同品种产品上市的体外诊断试剂，符合条件的医疗机构根据本单位的临床需要，可以自行研制，在执业医师指导下在本单位内使用。具体管理办法由国务院药品监督管理部门会同国务院卫生主管部门制定。

第五十四条  负责药品监督管理的部门和卫生主管部门依据各自职责，分别对使用环节的医疗器械质量和医疗器械使用行为进行监督管理。

第五十五条  医疗器械经营企业、使用单位不得经营、使用未依法注册或者备案、无合格证明文件以及过期、失效、淘汰的医疗器械。

第五十六条  医疗器械使用单位之间转让在用医疗器械，转让方应当确保所转让的医疗器械安全、有效，不得转让过期、失效、淘汰以及检验不合格的医疗器械。

第五十七条  进口的医疗器械应当是依照本条例第二章的规定已注册或者已备案的医疗器械。

进口的医疗器械应当有中文说明书、中文标签。说明书、标签应当符合本条例规定以及相关强制性标准的要求，并在说明书中载明医疗器械的原产地以及境外医疗器械注册人、备案人指定的我国境内企业法人的名称、地址、联系方式。没有中文说明书、中文标签或者说明书、标签不符合本条规定的，不得进口。

医疗机构因临床急需进口少量第二类、第三类医疗器械的，经国务院药品监督管理部门或者国务院授权的省、自治区、直辖市人民政府批准，可以进口。进口的医疗器械应当在指定医疗机构内用于特定医疗目的。

禁止进口过期、失效、淘汰等已使用过的医疗器械。

第五十八条  出入境检验检疫机构依法对进口的医疗器械实施检验；检验不合格的，不得进口。

国务院药品监督管理部门应当及时向国家出入境检验检疫部门通报进口医疗器械的注册和备案情况。进口口岸所在地出入境检验检疫机构应当及时向所在地设区的市级人民政府负责药品监督管理的部门通报进口医疗器械的通关情况。

第五十九条  出口医疗器械的企业应当保证其出口的医疗器械符合进口国（地区）的要求。

第六十条  医疗器械广告的内容应当真实合法，以经负责药品监督管理的部门注册或者备案的医疗器械说明书为准，不得含有虚假、夸大、误导性的内容。

发布医疗器械广告，应当在发布前由省、自治区、直辖市人民政府确定的广告审查机关对广告内容进行审查，并取得医疗器械广告批准文号；未经审查，不得发布。

省级以上人民政府药品监督管理部门责令暂停生产、进口、经营和使用的医疗器械，在暂停期间不得发布涉及该医疗器械的广告。

医疗器械广告的审查办法由国务院市场监督管理部门制定。

第五章  不良事件的处理与医疗器械的召回

第六十一条  国家建立医疗器械不良事件监测制度，对医疗器械不良事件及时进行收集、分析、评价、控制。

第六十二条  医疗器械注册人、备案人应当建立医疗器械不良事件监测体系，配备与其产品相适应的不良事件监测机构和人员，对其产品主动开展不良事件监测，并按照国务院药品监督管理部门的规定，向医疗器械不良事件监测技术机构报告调查、分析、评价、产品风险控制等情况。

医疗器械生产经营企业、使用单位应当协助医疗器械注册人、备案人对所生产经营或者使用的医疗器械开展不良事件监测；发现医疗器械不良事件或者可疑不良事件，应当按照国务院药品监督管理部门的规定，向医疗器械不良事件监测技术机构报告。

其他单位和个人发现医疗器械不良事件或者可疑不良事件，有权向负责药品监督管理的部门或者医疗器械不良事件监测技术机构报告。

第六十三条  国务院药品监督管理部门应当加强医疗器械不良事件监测信息网络建设。

医疗器械不良事件监测技术机构应当加强医疗器械不良事件信息监测，主动收集不良事件信息；发现不良事件或者接到不良事件报告的，应当及时进行核实，必要时进行调查、分析、评估，向负责药品监督管理的部门和卫生主管部门报告并提出处理建议。

医疗器械不良事件监测技术机构应当公布联系方式，方便医疗器械注册人、备案人、生产经营企业、使用单位等报告医疗器械不良事件。

第六十四条  负责药品监督管理的部门应当根据医疗器械不良事件评估结果及时采取发布警示信息以及责令暂停生产、进口、经营和使用等控制措施。

省级以上人民政府药品监督管理部门应当会同同级卫生主管部门和相关部门组织对引起突发、群发的严重伤害或者死亡的医疗器械不良事件及时进行调查和处理，并组织对同类医疗器械加强监测。

负责药品监督管理的部门应当及时向同级卫生主管部门通报医疗器械使用单位的不良事件监测有关情况。

第六十五条  医疗器械注册人、备案人、生产经营企业、使用单位应当对医疗器械不良事件监测技术机构、负责药品监督管理的部门、卫生主管部门开展的医疗器械不良事件调查予以配合。

第六十六条  有下列情形之一的，医疗器械注册人、备案人应当主动开展已上市医疗器械再评价：

（一）根据科学研究的发展，对医疗器械的安全、有效有认识上的改变；

（二）医疗器械不良事件监测、评估结果表明医疗器械可能存在缺陷；

（三）国务院药品监督管理部门规定的其他情形。

医疗器械注册人、备案人应当根据再评价结果，采取相应控制措施，对已上市医疗器械进行改进，并按照规定进行注册变更或者备案变更。再评价结果表明已上市医疗器械不能保证安全、有效的，医疗器械注册人、备案人应当主动申请注销医疗器械注册证或者取消备案；医疗器械注册人、备案人未申请注销医疗器械注册证或者取消备案的，由负责药品监督管理的部门注销医疗器械注册证或者取消备案。

省级以上人民政府药品监督管理部门根据医疗器械不良事件监测、评估等情况，对已上市医疗器械开展再评价。再评价结果表明已上市医疗器械不能保证安全、有效的，应当注销医疗器械注册证或者取消备案。

负责药品监督管理的部门应当向社会及时公布注销医疗器械注册证和取消备案情况。被注销医疗器械注册证或者取消备案的医疗器械不得继续生产、进口、经营、使用。

第六十七条  医疗器械注册人、备案人发现生产的医疗器械不符合强制性标准、经注册或者备案的产品技术要求，或者存在其他缺陷的，应当立即停止生产，通知相关经营企业、使用单位和消费者停止经营和使用，召回已经上市销售的医疗器械，采取补救、销毁等措施，记录相关情况，发布相关信息，并将医疗器械召回和处理情况向负责药品监督管理的部门和卫生主管部门报告。

医疗器械受托生产企业、经营企业发现生产、经营的医疗器械存在前款规定情形的，应当立即停止生产、经营，通知医疗器械注册人、备案人，并记录停止生产、经营和通知情况。医疗器械注册人、备案人认为属于依照前款规定需要召回的医疗器械，应当立即召回。

医疗器械注册人、备案人、受托生产企业、经营企业未依照本条规定实施召回或者停止生产、经营的，负责药品监督管理的部门可以责令其召回或者停止生产、经营。

第六章  监督检查

第六十八条  国家建立职业化专业化检查员制度，加强对医疗器械的监督检查。

第六十九条  负责药品监督管理的部门应当对医疗器械的研制、生产、经营活动以及使用环节的医疗器械质量加强监督检查，并对下列事项进行重点监督检查：

（一）是否按照经注册或者备案的产品技术要求组织生产；

（二）质量管理体系是否保持有效运行；

（三）生产经营条件是否持续符合法定要求。

必要时，负责药品监督管理的部门可以对为医疗器械研制、生产、经营、使用等活动提供产品或者服务的其他相关单位和个人进行延伸检查。

第六十九条  负责药品监督管理的部门在监督检查中有下列职权：

（一）进入现场实施检查、抽取样品；

（二）查阅、复制、查封、扣押有关合同、票据、账簿以及其他有关资料；

（三）查封、扣押不符合法定要求的医疗器械，违法使用的零配件、原材料以及用于违法生产经营医疗器械的工具、设备；

（四）查封违反本条例规定从事医疗器械生产经营活动的场所。

进行监督检查，应当出示执法证件，保守被检查单位的商业秘密。

有关单位和个人应当对监督检查予以配合，提供相关文件和资料，不得隐瞒、拒绝、阻挠。

第七十一条  卫生主管部门应当对医疗机构的医疗器械使用行为加强监督检查。实施监督检查时，可以进入医疗机构，查阅、复制有关档案、记录以及其他有关资料。

第七十二条  医疗器械生产经营过程中存在产品质量安全隐患，未及时采取措施消除的，负责药品监督管理的部门可以采取告诫、责任约谈、责令限期整改等措施。

对人体造成伤害或者有证据证明可能危害人体健康的医疗器械，负责药品监督管理的部门可以采取责令暂停生产、进口、经营、使用的紧急控制措施，并发布安全警示信息。

第七十三条  负责药品监督管理的部门应当加强对医疗器械注册人、备案人、生产经营企业和使用单位生产、经营、使用的医疗器械的抽查检验。抽查检验不得收取检验费和其他任何费用，所需费用纳入本级政府预算。省级以上人民政府药品监督管理部门应当根据抽查检验结论及时发布医疗器械质量公告。

卫生主管部门应当对大型医用设备的使用状况进行监督和评估；发现违规使用以及与大型医用设备相关的过度检查、过度治疗等情形的，应当立即纠正，依法予以处理。

第七十四条  负责药品监督管理的部门未及时发现医疗器械安全系统性风险，未及时消除监督管理区域内医疗器械安全隐患的，本级人民政府或者上级人民政府负责药品监督管理的部门应当对其主要负责人进行约谈。

地方人民政府未履行医疗器械安全职责，未及时消除区域性重大医疗器械安全隐患的，上级人民政府或者上级人民政府负责药品监督管理的部门应当对其主要负责人进行约谈。

被约谈的部门和地方人民政府应当立即采取措施，对医疗器械监督管理工作进行整改。

第七十五条  医疗器械检验机构资质认定工作按照国家有关规定实行统一管理。经国务院认证认可监督管理部门会同国务院药品监督管理部门认定的检验机构，方可对医疗器械实施检验。

负责药品监督管理的部门在执法工作中需要对医疗器械进行检验的，应当委托有资质的医疗器械检验机构进行，并支付相关费用。

当事人对检验结论有异议的，可以自收到检验结论之日起7个工作日内向实施抽样检验的部门或者其上一级负责药品监督管理的部门提出复检申请，由受理复检申请的部门在复检机构名录中随机确定复检机构进行复检。承担复检工作的医疗器械检验机构应当在国务院药品监督管理部门规定的时间内作出复检结论。复检结论为最终检验结论。复检机构与初检机构不得为同一机构；相关检验项目只有一家有资质的检验机构的，复检时应当变更承办部门或者人员。复检机构名录由国务院药品监督管理部门公布。

第七十六条  对可能存在有害物质或者擅自改变医疗器械设计、原材料和生产工艺并存在安全隐患的医疗器械，按照医疗器械国家标准、行业标准规定的检验项目和检验方法无法检验的，医疗器械检验机构可以使用国务院药品监督管理部门批准的补充检验项目和检验方法进行检验；使用补充检验项目、检验方法得出的检验结论，可以作为负责药品监督管理的部门认定医疗器械质量的依据。

第七十七条  市场监督管理部门应当依照有关广告管理的法律、行政法规的规定，对医疗器械广告进行监督检查，查处违法行为。

第七十八条  负责药品监督管理的部门应当通过国务院药品监督管理部门在线政务服务平台依法及时公布医疗器械许可、备案、抽查检验、违法行为查处等日常监督管理信息。但是，不得泄露当事人的商业秘密。

负责药品监督管理的部门建立医疗器械注册人、备案人、生产经营企业、使用单位信用档案，对有不良信用记录的增加监督检查频次，依法加强失信惩戒。

第七十九条  负责药品监督管理的部门等部门应当公布本单位的联系方式，接受咨询、投诉、举报。负责药品监督管理的部门等部门接到与医疗器械监督管理有关的咨询，应当及时答复；接到投诉、举报，应当及时核实、处理、答复。对咨询、投诉、举报情况及其答复、核实、处理情况，应当予以记录、保存。

有关医疗器械研制、生产、经营、使用行为的举报经调查属实的，负责药品监督管理的部门等部门对举报人应当给予奖励，有关部门应当为举报人保密。

第八十条  国务院药品监督管理部门制定、调整、修改本条例规定的目录以及与医疗器械监督管理有关的规范，应当公开征求意见；采取听证会、论证会等形式，听取专家、医疗器械注册人、备案人、生产经营企业、使用单位、消费者、行业协会以及相关组织等方面的意见。

第七章  法律责任

第八十一条  有下列情形之一的，由负责药品监督管理的部门没收违法所得、违法生产经营的医疗器械和用于违法生产经营的工具、设备、原材料等物品；违法生产经营的医疗器械货值金额不足1万元的，并处5万元以上15万元以下罚款；货值金额1万元以上的，并处货值金额15倍以上30倍以下罚款；情节严重的，责令停产停业，10年内不受理相关责任人以及单位提出的医疗器械许可申请，对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，没收违法行为发生期间自本单位所获收入，并处所获收入30%以上3倍以下罚款，终身禁止其从事医疗器械生产经营活动：

（一）生产、经营未取得医疗器械注册证的第二类、第三类医疗器械；

（二）未经许可从事第二类、第三类医疗器械生产活动；

（三）未经许可从事第三类医疗器械经营活动。

有前款第一项情形、情节严重的，由原发证部门吊销医疗器械生产许可证或者医疗器械经营许可证。

第八十二条  未经许可擅自配置使用大型医用设备的，由县级以上人民政府卫生主管部门责令停止使用，给予警告，没收违法所得；违法所得不足1万元的，并处5万元以上10万元以下罚款；违法所得1万元以上的，并处违法所得10倍以上30倍以下罚款；情节严重的，5年内不受理相关责任人以及单位提出的大型医用设备配置许可申请，对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，没收违法行为发生期间自本单位所获收入，并处所获收入30%以上3倍以下罚款，依法给予处分。

第八十三条  在申请医疗器械行政许可时提供虚假资料或者采取其他欺骗手段的，不予行政许可，已经取得行政许可的，由作出行政许可决定的部门撤销行政许可，没收违法所得、违法生产经营使用的医疗器械，10年内不受理相关责任人以及单位提出的医疗器械许可申请；违法生产经营使用的医疗器械货值金额不足1万元的，并处5万元以上15万元以下罚款；货值金额1万元以上的，并处货值金额15倍以上30倍以下罚款；情节严重的，责令停产停业，对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，没收违法行为发生期间自本单位所获收入，并处所获收入30%以上3倍以下罚款，终身禁止其从事医疗器械生产经营活动。

伪造、变造、买卖、出租、出借相关医疗器械许可证件的，由原发证部门予以收缴或者吊销，没收违法所得；违法所得不足1万元的，并处5万元以上10万元以下罚款；违法所得1万元以上的，并处违法所得10倍以上20倍以下罚款；构成违反治安管理行为的，由公安机关依法予以治安管理处罚。

第八十四条  有下列情形之一的，由负责药品监督管理的部门向社会公告单位和产品名称，责令限期改正；逾期不改正的，没收违法所得、违法生产经营的医疗器械；违法生产经营的医疗器械货值金额不足1万元的，并处1万元以上5万元以下罚款；货值金额1万元以上的，并处货值金额5倍以上20倍以下罚款；情节严重的，对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，没收违法行为发生期间自本单位所获收入，并处所获收入30%以上2倍以下罚款，5年内禁止其从事医疗器械生产经营活动：

（一）生产、经营未经备案的第一类医疗器械；

（二）未经备案从事第一类医疗器械生产；

（三）经营第二类医疗器械，应当备案但未备案；

（四）已经备案的资料不符合要求。

第八十五条  备案时提供虚假资料的，由负责药品监督管理部门向社会公告备案单位和产品名称，没收违法所得、违法生产经营的医疗器械；违法生产经营的医疗器械货值金额不足1万元的，并处2万元以上5万元以下罚款；货值金额1万元以上的，并处货值金额5倍以上20倍以下罚款；情节严重的，责令停产停业，对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，没收违法行为发生期间自本单位所获收入，并处所获收入30%以上3倍以下罚款，10年内禁止其从事医疗器械生产经营活动。

第八十六条  有下列情形之一的，由负责药品监督管理的部门责令改正，没收违法生产经营使用的医疗器械；违法生产经营使用的医疗器械货值金额不足1万元的，并处2万元以上5万元以下罚款；货值金额1万元以上的，并处货值金额5倍以上20倍以下罚款；情节严重的，责令停产停业，直至由原发证部门吊销医疗器械注册证、医疗器械生产许可证、医疗器械经营许可证，对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，没收违法行为发生期间自本单位所获收入，并处所获收入30%以上3倍以下罚款，10年内禁止其从事医疗器械生产经营活动：

（一）生产、经营、使用不符合强制性标准或者不符合经注册或者备案的产品技术要求的医疗器械；

（二）未按照经注册或者备案的产品技术要求组织生产，或者未依照本条例规定建立质量管理体系并保持有效运行，影响产品安全、有效；

（三）经营、使用无合格证明文件、过期、失效、淘汰的医疗器械，或者使用未依法注册的医疗器械；

（四）在负责药品监督管理的部门责令召回后仍拒不召回，或者在负责药品监督管理的部门责令停止或者暂停生产、进口、经营后，仍拒不停止生产、进口、经营医疗器械；

（五）委托不具备本条例规定条件的企业生产医疗器械，或者未对受托生产企业的生产行为进行管理；

（六）进口过期、失效、淘汰等已使用过的医疗器械。

第八十七条  医疗器械经营企业、使用单位履行了本条例规定的进货查验等义务，有充分证据证明其不知道所经营、使用的医疗器械为本条例第八十一条第一款第一项、第八十四条第一项、第八十六条第一项和第三项规定情形的医疗器械，并能如实说明其进货来源的，收缴其经营、使用的不符合法定要求的医疗器械，可以免除行政处罚。

第八十八条  有下列情形之一的，由负责药品监督管理的部门责令改正，处1万元以上5万元以下罚款；拒不改正的，处5万元以上10万元以下罚款；情节严重的，责令停产停业，直至由原发证部门吊销医疗器械生产许可证、医疗器械经营许可证，对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，没收违法行为发生期间自本单位所获收入，并处所获收入30%以上2倍以下罚款，5年内禁止其从事医疗器械生产经营活动：

（一）生产条件发生变化、不再符合医疗器械质量管理体系要求，未依照本条例规定整改、停止生产、报告；

（二）生产、经营说明书、标签不符合本条例规定的医疗器械；

（三）未按照医疗器械说明书和标签标示要求运输、贮存医疗器械；

（四）转让过期、失效、淘汰或者检验不合格的在用医疗器械。

第八十九条  有下列情形之一的，由负责药品监督管理的部门和卫生主管部门依据各自职责责令改正，给予警告；拒不改正的，处1万元以上10万元以下罚款；情节严重的，责令停产停业，直至由原发证部门吊销医疗器械注册证、医疗器械生产许可证、医疗器械经营许可证，对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员处1万元以上3万元以下罚款：

（一）未按照要求提交质量管理体系自查报告；

（二）从不具备合法资质的供货者购进医疗器械；

（三）医疗器械经营企业、使用单位未依照本条例规定建立并执行医疗器械进货查验记录制度；

（四）从事第二类、第三类医疗器械批发业务以及第三类医疗器械零售业务的经营企业未依照本条例规定建立并执行销售记录制度的；

（五）医疗器械注册人、备案人、生产经营企业、使用单位未依照本条例规定开展医疗器械不良事件监测，未按照要求报告不良事件，或者对医疗器械不良事件监测技术机构、负责药品监督管理的部门、卫生主管部门开展的不良事件调查不予配合；

（六）医疗器械注册人、备案人未按照规定制定上市后研究和风险管控计划并保证有效实施；

（七）医疗器械注册人、备案人未按照规定建立并执行产品追溯制度；

（八）医疗器械注册人、备案人、经营企业从事医疗器械网络销售未按照规定告知负责药品监督管理的部门；

（九）对需要定期检查、检验、校准、保养、维护的医疗器械，医疗器械使用单位未按照产品说明书要求进行检查、检验、校准、保养、维护并予以记录，及时进行分析、评估，确保医疗器械处于良好状态；

（十）医疗器械使用单位未妥善保存购入第三类医疗器械的原始资料。

第九十条  有下列情形之一的，由县级以上人民政府卫生主管部门责令改正，给予警告；拒不改正的，处5万元以上10万元以下罚款；情节严重的，处10万元以上30万元以下罚款，责令暂停相关医疗器械使用活动，直至由原发证部门吊销执业许可证，依法责令相关责任人员暂停6个月以上1年以下执业活动，直至由原发证部门吊销相关人员执业证书，对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，没收违法行为发生期间自本单位所获收入，并处所获收入30%以上3倍以下罚款，依法给予处分：

（一）对重复使用的医疗器械，医疗器械使用单位未按照消毒和管理的规定进行处理；

（二）医疗器械使用单位重复使用一次性使用的医疗器械，或者未按照规定销毁使用过的一次性使用的医疗器械；

（三）医疗器械使用单位未按照规定将大型医疗器械以及植入和介入类医疗器械的信息记载到病历等相关记录中；

（四）医疗器械使用单位发现使用的医疗器械存在安全隐患未立即停止使用、通知检修，或者继续使用经检修仍不能达到使用安全标准的医疗器械；

（五）医疗器械使用单位违规使用大型医用设备，不能保障医疗质量安全。

第九十一条  违反进出口商品检验相关法律、行政法规进口医疗器械的，由出入境检验检疫机构依法处理。

第九十二条  为医疗器械网络交易提供服务的电子商务平台经营者违反本条例规定，未履行对入网医疗器械经营者进行实名登记，审查许可、注册、备案情况，制止并报告违法行为，停止提供网络交易平台服务等管理义务的，由负责药品监督管理的部门依照《中华人民共和国电子商务法》的规定给予处罚。

第九十三条  未进行医疗器械临床试验机构备案开展临床试验的，由负责药品监督管理的部门责令停止临床试验并改正；拒不改正的，该临床试验数据不得用于产品注册、备案，处5万元以上10万元以下罚款，并向社会公告；造成严重后果的，5年内禁止其开展相关专业医疗器械临床试验，并处10万元以上30万元以下罚款，由卫生主管部门对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，没收违法行为发生期间自本单位所获收入，并处所获收入30%以上3倍以下罚款，依法给予处分。

临床试验申办者开展临床试验未经备案的，由负责药品监督管理的部门责令停止临床试验，对临床试验申办者处5万元以上10万元以下罚款，并向社会公告；造成严重后果的，处10万元以上30万元以下罚款。该临床试验数据不得用于产品注册、备案，5年内不受理相关责任人以及单位提出的医疗器械注册申请。

临床试验申办者未经批准开展对人体具有较高风险的第三类医疗器械临床试验的，由负责药品监督管理的部门责令立即停止临床试验，对临床试验申办者处10万元以上30万元以下罚款，并向社会公告；造成严重后果的，处30万元以上100万元以下罚款。该临床试验数据不得用于产品注册，10年内不受理相关责任人以及单位提出的医疗器械临床试验和注册申请，对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，没收违法行为发生期间自本单位所获收入，并处所获收入30%以上3倍以下罚款。

第九十四条  医疗器械临床试验机构开展医疗器械临床试验未遵守临床试验质量管理规范的，由负责药品监督管理的部门责令改正或者立即停止临床试验，处5万元以上10万元以下罚款；造成严重后果的，5年内禁止其开展相关专业医疗器械临床试验，由卫生主管部门对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，没收违法行为发生期间自本单位所获收入，并处所获收入30%以上3倍以下罚款，依法给予处分。

第九十五条  医疗器械临床试验机构出具虚假报告的，由负责药品监督管理的部门处10万元以上30万元以下罚款；有违法所得的，没收违法所得；10年内禁止其开展相关专业医疗器械临床试验；由卫生主管部门对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，没收违法行为发生期间自本单位所获收入，并处所获收入30%以上3倍以下罚款，依法给予处分。

第九十六条  医疗器械检验机构出具虚假检验报告的，由授予其资质的主管部门撤销检验资质，10年内不受理相关责任人以及单位提出的资质认定申请，并处10万元以上30万元以下罚款；有违法所得的，没收违法所得；对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，没收违法行为发生期间自本单位所获收入，并处所获收入30%以上3倍以下罚款，依法给予处分；受到开除处分的，10年内禁止其从事医疗器械检验工作。

第九十七条  违反本条例有关医疗器械广告管理规定的，依照《中华人民共和国广告法》的规定给予处罚。

第九十八条  境外医疗器械注册人、备案人指定的我国境内企业法人未依照本条例规定履行相关义务的，由省、自治区、直辖市人民政府药品监督管理部门责令改正，给予警告，并处5万元以上10万元以下罚款；情节严重的，处10万元以上50万元以下罚款，5年内禁止其法定代表人、主要负责人、直接负责的主管人员和其他责任人员从事医疗器械生产经营活动。

境外医疗器械注册人、备案人拒不履行依据本条例作出的行政处罚决定的，10年内禁止其医疗器械进口。

第九十九条  医疗器械研制、生产、经营单位和检验机构违反本条例规定使用禁止从事医疗器械生产经营活动、检验工作的人员的，由负责药品监督管理的部门责令改正，给予警告；拒不改正的，责令停产停业直至吊销许可证件。

第一百条  医疗器械技术审评机构、医疗器械不良事件监测技术机构未依照本条例规定履行职责，致使审评、监测工作出现重大失误的，由负责药品监督管理的部门责令改正，通报批评，给予警告；造成严重后果的，对违法单位的法定代表人、主要负责人、直接负责的主管人员和其他责任人员，依法给予处分。

第一百零一条  负责药品监督管理的部门或者其他有关部门工作人员违反本条例规定，滥用职权、玩忽职守、徇私舞弊的，依法给予处分。

第一百零二条  违反本条例规定，构成犯罪的，依法追究刑事责任；造成人身、财产或者其他损害的，依法承担赔偿责任。

第八章  附  则

第一百零三条  本条例下列用语的含义：

医疗器械，是指直接或者间接用于人体的仪器、设备、器具、体外诊断试剂及校准物、材料以及其他类似或者相关的物品，包括所需要的计算机软件；其效用主要通过物理等方式获得，不是通过药理学、免疫学或者代谢的方式获得，或者虽然有这些方式参与但是只起辅助作用；其目的是：

（一）疾病的诊断、预防、监护、治疗或者缓解；

（二）损伤的诊断、监护、治疗、缓解或者功能补偿；

（三）生理结构或者生理过程的检验、替代、调节或者支持；

（四）生命的支持或者维持；

（五）妊娠控制；

（六）通过对来自人体的样本进行检查，为医疗或者诊断目的提供信息。

医疗器械注册人、备案人，是指取得医疗器械注册证或者办理医疗器械备案的企业或者研制机构。

医疗器械使用单位，是指使用医疗器械为他人提供医疗等技术服务的机构，包括医疗机构、计划生育技术服务机构、血站、单采血浆站、康复辅助器具适配机构等。

大型医用设备，是指使用技术复杂、资金投入量大、运行成本高、对医疗费用影响大且纳入目录管理的大型医疗器械。

第一百零四条  医疗器械产品注册可以收取费用。具体收费项目、标准分别由国务院财政、价格主管部门按照国家有关规定制定。

第一百零五条  医疗卫生机构为应对突发公共卫生事件而研制的医疗器械的管理办法，由国务院药品监督管理部门会同国务院卫生主管部门制定。

从事非营利的避孕医疗器械的存储、调拨和供应，应当遵守国务院卫生主管部门会同国务院药品监督管理部门制定的管理办法。

中医医疗器械的技术指导原则，由国务院药品监督管理部门会同国务院中医药管理部门制定。

第一百零六条  军队医疗器械使用的监督管理，依照本条例和军队有关规定执行。

第一百零七条  本条例自2021年6月1日起施行。

Order of the State Council of the People's Republic of China

No. 739

The "Regulations on the Supervision and Administration of Medical Devices" have been revised and adopted at the 119th executive meeting of the State Council on December 21, 2020. They are hereby promulgated and shall come into force on June 1, 2021.

Li Keqiang

February 9, 2021

Regulations on the Supervision and Administration of Medical Devices

(Promulgated by Decree No.276 of the State Council of the People's Republic of China on January 4, 2000, and revised and approved at the 39th executive meeting of the State Council on February 12, 2014, revised in accordance with the Decision of the State Council on Amending the Regulations on the Supervision and Administration of Medical Devices on May 4, 2017 and revised and approved at the 119th executive meeting of the State Council on December 21, 2020)

Chapter I General Provisions

Article 1 The Regulations hereby formulated with a view to ensuring safety and effectiveness of medical devices, protecting human health and life safety, as well as promoting the development of the medical device industry.

Article 2 The Regulation shall apply to all units or individuals engaged in the research and development, manufacture, distribution, use, supervision and administration of medical devices within the territory of the People’s Republic of China.

Article 3 The drug administration department under the State Council shall be responsible for the supervision and administration of medical devices throughout the country.

The relevant departments of the State Council shall be responsible for the supervision and administration of medical devices within the scope of their respective functions and duties.

Article 4 The local people's government at or above the county level shall strengthen the leadership of the supervision and administration of medical devices within its administrative region, organize and coordinate the supervision and administration of medical devices within its administrative region as well as the emergency response work, strengthen the capacity building of the supervision and administration of medical devices, and provide guarantee for the safety work of medical devices.

The drug administration department of the local government at county level and above is responsible for the supervision and administration of medical devices in their administrative region. Relevant authority of the local government at county level and above is responsible for the supervision and administration related to medical devices within the scope of their respective duties.

Article 5 The supervision and administration of medical devices shall follow the principles of risk management, whole-process control, scientific supervision and social co-governance.

Article 6 The State shall classify and administrate medical devices based on the risk level.

Class I Medical Devices are those with lower risk for which safety and effectiveness can be ensured through routine administration;

Class II Medical Devices are those with medium risk for which strict control is required to ensure their safety and effectiveness;

Class III Medical Devices are those with higher risk which special measures shall be taken and strict control is required to ensure their safety and effectiveness.

Evaluation on risk level of medical devices, shall take their intended use, structural characteristics, forms of operation, and other factors into consideration.

The drug administration department under the State Council is responsible for stipulating medical devices classification principles and classification catalogue; conducting timely analysis and evaluation on medical devices risk level changes related to the manufacture, distribution, and use of medical devices; as well as adjusting classification rules and classification catalogue. The formulated and adjusted classification rules and classification catalogue shall include suggestions from medical device registrants, filing units, manufacturers, distributing enterprises, usage units and industry association of medical devices, and use international classification practices as reference. The classification rules and classification catalogue shall be published to the public.

Article 7 Medical devices shall comply with the mandatory national standard or mandatory industry standard when there are no relevant mandatory national standard available.

Article 8 The State formulates plans and policies for the medical device industry, brings the innovation of medical devices into the focus of development, gives priority to the evaluation and approval of innovative medical devices, supports the clinical promotion and use of innovative medical devices, and promotes the high-quality development of the medical device industry. The drug administration department under the State Council shall coordinate with other relevant authorities under the State Council, in the implementation of planning and guidance policies for medical device industry.

Article 9 The State shall improve the innovation system of medical devices, support the basic research and application research of medical devices, promote the popularization and application of new technologies of medical devices, and provide support in scientific and technological project approval, financing, credit, bidding and procurement, medical insurance and other aspects. The State shall support enterprises to set up or jointly set up research and development institutions, encourage enterprises to cooperate with schools, scientific research institutes and medical institutions to carry out research and innovation of medical devices, strengthen protection of intellectual property rights of medical devices, and improve the ability of independent innovation of medical devices.

Article 10 The State shall strengthen the construction of informatization in the supervision and management of medical devices, improve the level of online government services, and provide convenience for the administrative licensing and filing of medical devices.

Article 11 Medical device industry association should strengthen industrial self-discipline, promote credit system construction, urge enterprises to conduct manufacture and distribution activities in accordance with law and regulation, and lead enterprises integrity.

Article 12 Units and individuals that have made outstanding contributions to the research and innovation of medical devices shall be commended and rewarded in accordance with the relevant provisions of the State.

Chapter II Medical Devices Registration and Filing

Article 13 Class I medical devices shall implement filing administration, while Class II and Class III medical devices shall implement registration administration.

Registrants and filing units of medical devices shall strengthen the quality management of the whole life cycle of medical devices, and shall be legally responsible for the safety and effectiveness of medical devices during the whole process of research, manufacture, distribution and use.

Article 14 To file a record for Class I medical devices and apply for registration of Class II and Class III medical devices, the following files shall be submitted:

(I)	Risk analysis data of the product;

(II)	Technical requirements of the product;

(III)	Testing report of the product;

(IV)	Clinical evaluation data;

(V)	Sample of Instruction for use (IFU) and label;

(VI)	Quality management system documents related to research and development and manufacture.

(VII)	Other necessary documents to demonstrate safety and effectiveness of the product.

The medical device registration applicant and filing applicant shall be responsible for the authenticity of the submitted documents.

The product testing report shall meet the requirements of the drug administration department under the State Council, and can be the self-inspection report of the medical device registration applicant and the filing applicant, or the inspection report entrusted to a qualified medical device inspection institution to be issued.

Those who meet the circumstances of exemption from clinical evaluation prescribed in Article 24 of this Regulation may be exempted from submitting clinical evaluation data.

The medical device registration applicant and filing applicant shall ensure that the data submitted are legal, true, accurate, complete and traceable.

Article 15 To file a record for Class I medical devices, the filing applicant shall submit files to the drug administration department of the government of the municipality consisting of districts where the applicant is located.

The overseas filing applicant who export Class I medical devices to the territory of the People’s Republic of China, shall submit the certificate recognized or approved by the government of the Country (Region) of Origin that authorize the products as medical devices to launch in the market, and shall file a record through its designated domestic enterprise legal person in China to the drug administration department under the State Council. For an innovative medical device that has not been listed abroad, the applicants could be free from submitting the certificate recognized or approved by the government of the Country (Region) of Origin that authorize the products as medical devices to launch in the market.

The filing shall be completed upon submission of filing documents conforming to the provisions of this Regulation to the department responsible for drug supervision and administration. The department in charge of drug supervision and administration shall, within 5 working days from the date of receiving the filing data, publicize relevant filing information to the public through the online government affairs service platform of the drug administration department under the State Council.

In case of any filing item is changed and is reflected in the filing content, the applicant shall apply for amendment filing with the original filing regulatory authority.

Article 16 To apply for registration of Class II medical devices, the registration applicant shall submit registration files to the drug administration department of the government of the provinces, autonomous regions and municipalities directly under the central government where the applicant is located. To apply for registration of Class III medical devices, the applicant shall submit registration files to the drug administration department under the State Council.

The overseas registration applicant who export Class II and Class III medical devices to the territory of the People’s Republic of China shall submit the certificate recognized or approved by the government of the Country (Region) of Origin that authorize the products as medical devices to launch in the market, the registration applicant shall register through its designated domestic enterprise legal person in China to the drug administration department under the State Council. An innovative medical device that has not been listed abroad may not submit the certificate approving the marketing of such medical device by the competent authority of the country (region) where the registration applicant is located.

The drug administration department under the State Council shall stipulate the procedures and requirements for the registration review of medical devices, and strengthen supervision and guidance over the registration review of the drug administration departments of the people's governments of provinces, autonomous regions and municipalities directly under the Central Government.

Article 17 The drug administration department accepting the application for registration shall review the safety and effectiveness of the medical devices and the ability of the registration applicant to guarantee the safety and effective quality management of the medical devices.

The drug administration department shall forward the registration application to technical evaluation department within 3 working days from the date of registration application document acceptance. The department for technical evaluation shall submit evaluation result to the drug administration department once the technical evaluation is completed as the review basis for approval.

The drug administration department under the State Council shall organize to carry out the quality management system inspection if they deem it is necessary during technical evaluation of the medical device.

Article 18 The drug administration department shall make decision within 20 working days from the day of receiving evaluation result. For those complying with the requirements/criteria, registration shall be approved and Registration Certificate for Medical Device shall be granted; for those not complying with the requirements/criteria, the registration will not be approved and the reasons shall be specified in written to the applicant.

The drug administration department shall, within 5 working days from the date of approving the registration of medical devices, publicize relevant registration information to the public through the online government affairs service platform of the drug administration department under the State Council.

Article 19 The drug administration department may make conditional approval decisions for urgently needed medical devices used for the treatment of rare diseases, diseases seriously endangering life and diseases with no effective treatment means, and for responding to public health events, and shall specify relevant matters in the registration certificate of medical devices.

When there is particularly important public health emergencies or other serious threat to public health emergencies, health administrative department under the State Council will suggest to use of emergency medical apparatus and instruments according to the need of the prevention and control of events. After the argument is organized and agreed by the drug administration department under the State Council, the emergency medical apparatus and instruments can be used in a certain range within the time limit and emergency.

Article 20 The registrant and filing applicant of a medical device shall perform the following obligations:

(1) Establish a quality management system suitable for the products and maintain its effective operation;

(2) Formulate post-market research and risk control plans and ensure their effective implementation;

(3)Carry out monitoring and reevaluation of adverse events according to regulations;

(4)Establish and implement product traceability and recall systems;

(5)Other obligations stipulated by the drug administration department under the State Council.

The domestic enterprise legal person designated by the overseas medical device registrant or filing applicant shall assist the registrant or filing applicant to fulfill the obligations prescribed in the preceding paragraph.

Article 21 In case that substantial change takes place on the design, raw materials, production process, application scope, method of use, etc. of the Class II and Class III medical devices already registered, which possibly affect the safety and effectiveness of medical devices, the registration applicant shall submit change application to the original registration authority; if other change occurs, notification or reporting should be completed in accordance with the provisions of the drug administration department under the State Council.

Article 22 The valid period of the Registration Certificate for Medical Device is 5 years. If the registration shall be renewed upon the expiration of the valid period, the applicant should submit the application for license extension re-registration with the original registration authority 6 months before the license expiration.

Except for the circumstances specified in the following third items of this article, the drug administration department that has received the application for renewal of registration shall make a decision to grant renewal before the expiration of the validity period of the medical device registration certificate. If no decision is made within the time limit, the extension shall be deemed to be granted.

In case of any of the following circumstances, the license renewal of registration shall not be approved:

(I)	Fails to submit application for renewal of registration within specified time.;

(II)	The mandatory standard for medical devices has been revised, while the medical devices applying for the renewal of registration fails to meet the new requirements.

(III)	For medical devices with conditional approval fail to finish the registration record part of the Registration Certificate for Medical Device within specified time.

Article 23 For medical devices newly invented not yet listed in the classification catalogue, applicant may directly apply for Class III medical devices registration in accordance with this regulation, or determine the device classification in accordance with the classification rules and apply for confirmation to the drug administration department under the State Council, and then carry out registration or filing accordingly.

For those directly apply for the registration of Class III medical devices, the drug administration department under the State Council shall determine the classification in accordance with the risk level and timely put the medical devices into the classification catalogue for proper registration or filing. For those apply for classification determination, the drug administration department under the State Council shall determine the classification of the medical devices and inform the applicant within 20 working days from the date of acceptance of application.

Article 24 Clinical evaluation shall be conducted in the registration and filing of medical device products; However, if one of the following conditions is met, clinical evaluation may be exempted:

(1)	A medical device with clear working mechanism, finalized design, mature production process, and has the same type of medical device been marketed and clinically used for many years without records of serious adverse events, and does not change its conventional purpose of use;

(2) Other approaches through the non-clinical evaluation can prove the safety and effectiveness of the medical devices;

The drug administration department under the State Council shall formulate guidelines for clinical evaluation of medical devices.

Article 25 Clinical evaluation of medical devices may be conducted to prove the safety and effectiveness of medical devices by carrying out clinical trials or by analyzing and evaluating the clinical literature and clinical data of the same type of medical devices according to the product characteristics, clinical risks and existing clinical data.

According to the provisions of the drug administration department under the State Council, when conducting clinical evaluation of medical devices, if the existing clinical literature and clinical data are insufficient to confirm the safety and effectiveness of the products, clinical trials shall be carried out.

Article 26 All clinical trials conducted for the medical devices shall comply with requirements of the Good Clinical Practices for Medical Devices, and in such institutions with appropriate conditions, which shall be registered in the drug administration department of the people's governments of the province, autonomous region and special municipality which the sponsor of the clinical trial is located. The drug administration department accepting the filing of clinical trial shall notify the filing status to the drug administration department and the health authority at the same level where the clinical trial institution is located.

The institutions conducting clinical trials for the medical devices shall adopt the filing management approach. All conditions, provisions for the filing management and good clinical practices for such institutions shall be formulated and promulgated by the drug administration department and the health authority under the State Council.

The State supports medical institutions in carrying out clinical trials, includes evaluation of clinical trial conditions and capabilities in the hierarchical evaluation of medical institutions, and encourages medical institutions to carry out clinical trials of innovative medical devices.

Article 27 The clinical trial of Class III medical devices with higher risk to human body shall be approved by the drug administration department under the State Council before execution. The drug administration department under the State Council shall conduct comprehensive analysis on the conditions such as equipment, professionals, of the institution undertaking clinical trial for medical device, the medical devices risk level, clinical trial protocol, comparative analysis report of clinical benefit and risk, etc. during the clinical trial review, and make a decision and notify the sponsor of clinical trials within 60 working days from the date of acceptance of application. Failure to notify within the time limit shall be deemed as consent. The approved clinical trial shall be notified to the drug administration department and health authority of the government of the province, autonomous region, and municipality directly under the central government where the clinical trial institution is located.

The catalogue of Class III medical devices for which clinical trial with higher risk to human body shall be formulated, adjusted, and published by the drug administration department under the State Council.

Article 28 When conducting a clinical trial of a medical device, ethical review shall be conducted in accordance with the provisions, and detailed information such as the purpose, intended use and possible risks of the test shall be informed to the subjects, and written informed consent shall be obtained from the subjects; If the subject is a person without civil capacity or a person with limited civil capacity, he/she shall obtain the written informed consent of his/her guardian according to law.

In conducting a clinical trial, no fees related to the clinical trial shall be charged from the subjects in any form.

Article 29 For ongoing clinical trials for the treatment of severe life-threatening and there is no effective treatment of diseases of medical apparatus and instruments, the medical device may bring benefit to patients during the medical observation, the medical device can be used for other patients with the same illness in free within the institutions of medical device clinical trial after the ethical review and informed consent. The safety data of this practice can be used for the medical device registration.

Chapter III Medical Devices Manufacture

Article 30 Engaging in the manufacture of medical devices shall comply with the following requirements:

(I)	Have manufacture site, environmental conditions, manufacture equipment/apparatus, and technical professionals suitable for the manufactured medical device;

(II)	Have quality inspection institution and dedicated analysists as well as inspection equipment for manufactured medical device;

(III)	Have management system to guarantee the quality of manufactured medical devices;

(IV)	Have after-sales service capability suitable for the manufactured medical devices;

(V)	Comply with the requirements specified in the products’ development and production process documents.

Article 31 To manufacture Class I medical devices, manufacturing filing to the drug administration department of the government of the municipality consisting of districts is required. The manufacturing filing will be completed upon submission of the relevant documents meeting the conditions prescribed in Article 30 of this Regulation.

Where the medical device filing applicant manufactures Class I medical devices by itself, the filing applicant can submit the relevant documents meeting the requirements of Article 30 together with the product filing based on Article 15 of this Regulation, and the manufacture filing will be completed then.

Article 32 To manufacture Class II and III medical devices, manufacturing license shall be applied to the drug administration department of provinces, autonomous regions and municipalities directly under the Central Government. The relevant documents compliant with the specified requirements in Article 30 of this Regulation and the corresponding Registration Certificate for Medical Device shall be submitted as well.

The drug administration department accepting the application shall perform review on the application documents. It shall conduct the inspection in accordance with the requirements of the Good Manufacturing Practice for Medical Devices formulated by the drug administration department under the State Council, and make the decision within 20 working days from the date of application acceptance. For those complying with the requirements, the application shall be approved and the Medical Device Manufacturing License shall be granted; for those not complying with the requirements, the application shall not be approved and the reasons shall be specified in written to the applicant.

The valid period of the Medical Device Manufacturing License is 5 years. If extension is needed upon expiration, the procedures for extension shall be followed in accordance with the provisions of related administrative licensing law.

Article 33 The Good Manufacturing Practice for Medical Devices shall clearly formulate the matters affecting the safety and effectiveness of medical device, such as the design and development, manufacturing equipment/apparatus and conditions, raw materials procurement, manufacturing process control, product release, organizational setup and staffing, etc.

Article 34 A medical device registrant or filing applicant may produce medical devices by itself, or may entrust an enterprise that complies with the provisions of this Regulation and meets corresponding conditions to produce medical devices.

If medical device is manufactured under authorization, the medical device registrant or filing applicant shall be responsible for the quality of the medical device manufactured under authorization. The medical device registrant or filing applicant shall strengthen the management on the manufacturing behavior of the entrusted party to ensure the manufacture is compliant with the regulation. The medical device registrant or filing applicant shall sign an entrustment agreement with the entrusted manufacturer to clarify the rights, obligations and responsibilities of both parties. The entrusted manufacturer shall organize production in accordance with laws and regulations, Good Manufacturing Practices for medical devices, mandatory standards, product technical requirements and entrustment agreement, be responsible for the production activities and accept the supervision of the entrusting party.

Implantable medical devices with high risk shall not be manufactured under authorization, and a specific category shall be stipulated, adjusted and published by the drug administration department under the State Council.

Article 35 Medical device registrant, filing applicant and entrusted manufacturer shall follow the Good Manufacturing Practices for Medical Devices, establish and improve quality management system complying with their manufactured medical devices and ensure the effective operation; they shall strictly organize manufacture in accordance with the registered or filed product technical requirements and ensure manufactured medical devices are compliant with mandatory standard and registered or filed product technical requirements.

Medical device registrant, filing applicant and entrusted manufacturer shall conduct self-inspection regularly in accordance with the operation of quality management system and submit self-inspection report in accordance with the provisions of the drug administration department under the State Council.

Article 36 If the manufacturing conditions of the medical device changes and do not comply with the requirements of Good Manufacturing Practices for medical devices, medical device registrant, filing applicant and entrusted manufacturer shall immediately take rectification; if the safety and effectiveness of the medical device may be affected, they shall immediately stop manufacturing activities and report to the original manufacturing license or filing issuance department.

Article 37 Medical devices shall use generic names. Generic name shall comply with the medical devices nomenclature principles formulated by the drug administration department under the State Council.

Article 38 The State shall, according to the category of medical devices, implement the unique device identification (UDI) system for medical devices step by step so as to achieve traceability of medical devices. The specific measures shall be formulated by the drug administration department under the State Council jointly with the relevant departments under the State Council.

Article 39 Medical devices shall have instruction for use (IFU) and labels. The contents of the instruction for use (IFU) and labels should be consistent with the relevant contents registered or filed to ensure the authenticity and accuracy.

The following items shall be indicated on the instruction for use (IFU) and labels for medical devices:

(I)	Generic name, model, and specification;

(II)	Name, address and contact information of the registrant, filing applicant and entrusted manufacturer;

(III)	Manufacturing date and shelf life or expiration date;

(IV)	Performance, main structure, and applicable scope of product;

(V)	Contraindications, precautions and other warnings or tips;

(VI)	Instructions or illustrations for installation and use;

(VII)	Maintenance methods, special storage conditions and methods;

(VIII)	Other contents to be indicated as specified by product technical requirements.

Class II and Class III medical devices shall indicate the registration number of the Registration Certificate for Medical Device.

Medical device intended to be used by individual consumers shall have special instruction for safe use.

Chapter IV Medical Devices Distribution and Use

Article 40 Those Engaged in medical devices distributing activities shall have premises and storage conditions adapting to their distribution scale and scope, and shall have quality management system and department or staff adapting to their distributed medical device.

Article 41 The distributing enterprises who engaged in the distribution of Class II medical devices shall file a record and submit relevant documents that prove the conformity to conditions specified in Article 40 of this Regulation to the responsible drug administration department of the government of the municipality consisting of districts municipalities where the distribution enterprise is located.

According to the provisions of the drug administration department under the State Council, Class II medical devices whose product safety and effectiveness are not affected by the distribution process may be exempted from the distribution filing.

Article 42 The distribution enterprises engaged in the distribution of Class III medical devices shall apply for distribution license and submit relevant documents that prove the conformity to conditions specified in Article 40 of this Regulation to the responsible drug administration department of the government of the municipality consisting of districts municipalities where the distribution enterprise is located.

The responsible drug administration department accepting the application for distribution license shall conduct the review on the application documents and organize the inspection if necessary, and shall make the decision within 20 working days from the date of application acceptance. For those meeting specified conditions, the application will be approved and the Medical Device Distribution License shall be granted; for those not complying with the specified conditions, the application will not be approved and the reasons shall be specified in written to the applicant.

The valid period of the Medical Device Distribution License is 5 years. If extension is needed upon expiration, the procedures for extension shall be followed in accordance with the provisions of related administrative licensing law.

Article 43 The medical device registrant or filing applicant does not need to apply for a medical device distribution license or filing record to distribute the medical devices registered or filed but it shall comply with the distribution conditions stipulated in this Regulation.

Article 44 Those who engaged in the distribution of medical devices shall, in accordance with laws and regulations and the requirements of the Good Supply Practices for Medical Devices formulated by the drug administration department under the State Council, establish and improve the quality management system suitable for the distribution of medical devices and ensure its effective operation.

Article 45 Medical device distributing enterprises and usage units shall purchase medical devices from medical device registrants, filing applicants, manufacturers and distributors with legal qualifications, and check the qualification of the supplier and evidential document when purchasing medical devices, and establish incoming inspection recording system. The distributing enterprises engaging in wholesale service of Class II and Class III medical devices and retail business of Class III medical devices should also establish sales recoding system.

The records include:

(I)	Name, model, specification, and quantity of medical device;

(II)	Batch number, use period or expiration date, and date of sale of medical devices;

(III)	Name of the medical device registrant, filing applicant, entrusted manufacturer;

(IV)	Name, address and contact of supplier or purchaser;

(V)	Numbers of relevant evidential documents.

Incoming inspection record and sales record should be authentic, accurate, complete and traceable, and kept within the duration indicated in the provisions of the drug administration department under the State Council. The State encourages enterprises use advanced technic to keep records.

Article 46 The online medical device distributor shall be the medical device registrant, filing applicant or medical device distributing enterprise. The distributor engaged in network sales of medical devices shall inform the department in charge of drug administration of the people's government of the city divided into districts where it is located about the relevant information of network sales of medical devices, with the exception of the distribution of Class I medical devices and Class II medical devices as stipulated in item 2 of Article 41 of this Regulation.

An operator of an e-commerce platform providing services for the online trading of medical devices shall register the distributor of a medical device with its real name, review its distribution license and filing status as well as the registration and filing status of the medical device products it distributes, and administer its distribution behaviors. If the operator of an e-commerce platform discovers that a distributor of a networked medical device has violated the provisions of this Regulation, it shall stop in time and immediately report to the drug administration department of the people's government of the city divided into districts where the distributor is located. If serious illegal acts are found, it shall immediately stop providing online trading platform services.

Article 47 The transportation and storage of medical devices shall conform to the requirements of medical devices instruction for use (IFU) and labels; in case of special requirements on temperature, humidity, and other environmental conditions, appropriate measures shall be taken to ensure the safety and effectiveness of medical devices.

Article 48 Medical device usage units shall have storage places and conditions conform to the specified variety and quantity of the medical device. Medical device usage units shall enhance the training for their staff, and use medical device in accordance with instruction for use (IFU) and operational technical guidance.

Medical device usage units shall have large medical equipment in accordance with the large medical equipment allocation plan made by the health authority under the State Council, meeting the functional level and clinic service needs. Such units shall also have relevant technical conditions, supporting facilities and professional technicians with necessary qualifications and capabilities, and have been approved by the health authority of the people's governments at above provincial level, and have obtained Large Medical Equipment Allocation License.

Provisions for Allocation and Management on Large Medical Equipment shall be formulated by the health authority and other relevant authority under the State Council. The catalogue of large medical equipment shall be proposed by the health authority and other relevant authority under the State Council, and be submitted to the State Council for approval before its official implementation.

Article 49 Medical device usage units shall process disinfection and management of reusable medical devices in accordance with the regulations issued by the health authority under the State Council.

Disposable medical device shall not be reused; the used disposable medical device shall be destroyed in accordance with relevant provisions of the State. The catalogue of disposable medical devices will be stipulated, adjusted and published by the drug administration department under the State Council in conjunction with the health authority under the State Council. The medical devices listed in the catalogue of disposable medical device shall have sufficient evidential reasons for not being able to be reused. Medical devices that can be reused to ensure safety and effectiveness shall not be included in the catalogue of disposable medical devices. For medical devices that can be guaranteed safe and effective by repeated use after improvement in design, production process, disinfection and sterilization technology, etc., they shall be removed from the catalogue of disposal medical devices and allowed to be repeated use.

Article 50 Medical device usage units shall take regular inspection, verification, calibration and maintenance for medical device which the above actions need to be taken and record, and conduct the analysis and assessment in accordance with the instruction for use (IFU) to ensure the medical device in good condition and with good quality for use; for large medical device with long service life, medical device usage units shall establish using record for each equipment to record the use, maintenance, transfer, actual using time, and other related information. The record shall be kept for at least 5 years after the expiration of the prescribed service period of the medical device.

Article 51 Medical device usage unit shall properly keep the original purchasing record of Class III medical device procurement and ensure that the information is traceable.

Where large medical devices, implantable and interventional medical devices are used, the name, critical technical parameters and other information of the medical devices as well as the necessary information closely related to the quality and safety of use shall be recorded in the medical records and other relevant records.

Article 52 Where any medical device used is found to have potential safety hazards, the medical device usage units shall immediately stop using the device and notify the registrant or the filing applicant of the medical device or any other institution responsible for product quality to carry out overhaul. Medical devices that still cannot meet the safety standards for use after overhaul shall not be allowed to continue to be used.

Article 53 For in vitro diagnostic reagents with products of the same variety not yet on the market in China, qualified medical institutions may, according to the clinical needs of their own units, develop them by themselves and use them in their own units under the guidance of medical practitioners. Specific provisions for that shall be formulated by the drug administration department under the State Council jointly with the health authority under the State Council.

Article 54 The drug administration department and health authority shall conduct supervision and administration respectively on the quality of medical devices and the using behavior of medical devices in accordance with respective responsibilities.

Article 55 Medical device distributing enterprises and usage units should not distribute or use any medical devices without registration or filing or conformity certificate, distribute or use expired, invalid and obsolete medical devices.

Article 56 In case of transfer of in-use medical devices between medical device usage units, the transferor shall ensure the safety and effectiveness of the transferred medical devices. Expired, invalid, obsolete, and non-conforming medical devices shall not be transferred.

Article 57 Imported medical devices shall be the ones registered or filed in accordance with the requirements in Chapter II of this Regulation.

Imported medical devices shall have instruction for use (IFU) and labels in Chinese. The instruction for use (IFU) and labels shall comply with this regulation and requirements of relevant mandatory standards. The instruction for use (IFU) shall indicate the place of origin and the name, address, and contact information of the domestic enterprise legal person designated by the overseas medical device registrant or filing applicant. Medical devices without instructions for use (IFU) and labels in Chinese, or the instructions for use (IFU) and labels not complying with this Regulation shall not be imported.

Where medical institutions urgently need to import a small amount of Class II or Class III medical devices for clinical purposes, they may import such devices with the approval of the drug administration department under the State Council or the people's governments of provinces, autonomous regions or municipalities directly under the Central Government authorized by the State Council. Imported medical devices shall be used for specific medical purposes in designated medical institutions.

It is forbidden to import expired, invalid, obsolete and other medical devices that have been used.

Article 58 Entry-exit inspection and quarantine authority shall conduct inspection on imported medical devices in accordance with law and regulation; medical devices failed the inspection shall not be imported.

The drug administration department under the State Council shall timely notify the registration and filing information of imported medical devices to the State entry-exit inspection and quarantine authority. The entry-exist inspection and quarantine authority where the import port is located shall timely circulate customs clearance of imported medical devices to the responsible drug administration department of the government of the municipality consisting of districts.

Article 59 The manufacturers exported medical device shall ensure their products comply with the requirements of importing country (region).

Article 60 The contents of medical device advertisement shall be authentic and legitimate, and shall be subject to the instructions for use (IFU) of the medical device registered or filed by the responsible drug administration department, and shall not be with spurious, exaggerated, and misleading contents.

Before publishing the advertisement of medical devices, the advertisement inspection institution appointed by the people's governments of provinces, autonomous regions and municipalities directly under the Central Government shall inspect the advertisement contents and the approval document number for medical devices advertisement shall be obtained. No publish without advertisement inspection.

For the medical devices instructed with suspension of manufacture, distribution, import and use by the drug administration department at province level and above, the advertisement shall not be released during the suspension period.

The provisions for medical device advertisement inspection shall be formulated by the State Administration for Market Regulation (SAMR) under the State Council.

Chapter V Treatment of Adverse Events and Recall of Medical Devices

Article 61 The State shall establish medical device adverse event monitoring system to timely collect, analyze, evaluate, and control medical device adverse event.

Article 62 The registrant and filing applicant of medical devices shall set up medical device adverse event monitoring system, equipped with adverse event monitoring institutions and personnel suitable for related products to actively carry out adverse event monitoring for products and report the investigation, analysis, evaluation, product risk control and so on to the technical institution of monitoring adverse events of medical devices in accordance with the provisions of the drug administration department under the State Council.

Medical device manufacturers, distributing enterprises and usage units shall associate the registrant and filing applicant of medical devices to conduct adverse event monitoring on their manufactured, distributed or used medical devices accordingly; if medical device adverse event or suspected adverse event is found, it shall be reported to the medical device adverse event monitoring technical institution in accordance with the related provisions of the drug administration department under the State Council.

Other units or individuals have right to report adverse event or suspected adverse event to the drug administration department or to the technical institution of medical device adverse event monitoring.

Article 63 The drug administration department under the State Council shall strength the construction for medical device adverse event monitoring information and networking system.

The medical device adverse event monitoring institutions shall strengthen the monitoring on medical device adverse event information and actively collect adverse event information; if adverse event is found or adverse event report is received, medical device adverse event monitoring institutions shall timely verify, and if necessary, shall investigate, analyze, evaluate, and put forward suggestions to the drug administration department and health authority.

Medical device adverse event monitoring institution shall publicize its contact information, facilitate medical device registrants, filing applicants, manufacturers and distributing enterprises and usage units report adverse events.

Article 64 The drug administration department shall timely take controlling measures including releasing warning information and instructing suspension on manufacture, import, distribution, and use, etc. in accordance with the evaluation results of the medical device adverse event.

The drug administration department of the government at province level and above shall organize timely investigation and treatment on the adverse events of medical devices causing emergent and group severe injury or death in conjunction with the health authority and other relevant authority at the same level, and organize to strengthen the monitoring of similar kind of medical devices.

The responsible drug administration department shall timely inform the health authority at the same level of the monitoring of adverse events of the medical device usage units.

Article 65 Medical device registrants, filing applicants, manufacturers, distributing enterprises and usage units shall coordinate with related authorities in the investigation on adverse event conducted by medical device adverse event monitoring institution, the responsible drug administration department and the health authority.

Article 66 In any of the following circumstances, the medical device registrants, filing applicants shall actively conduct the re-evaluation on the medical devices in the market:

(I)	Cognitional change of the safety and effectiveness of medical devices in accordance with the development of scientific research;

(II)	The monitoring and evaluation results of medical device adverse event indicate that the medical device may have defect;

(III)	Other circumstances requiring re-evaluation as specified by the drug administration department under the State Council.

The medical device registrant and filing applicant shall, based on the re-evaluation result, take corresponding control measures to improve the marketed medical device, and carry out the registration or filing change according to the provisions. If the re-evaluation results indicate that the safety and effectiveness of marketed medical devices cannot be guaranteed, medical device registrant and filing applicant shall proactively apply for the revoke of the Registration Certificate for Medical Device or cancellation of filing; if the medical device registrant and filing applicant fails to apply for the revoke or the cancellation, the responsible drug administration department shall revoke the Registration Certificate for Medical Device or cancel the filing.

The drug administration departments of the people's governments at or above the provincial level shall re-evaluate the marketed medical devices based on the monitoring and evaluation of adverse events of medical devices. Where the re-evaluation results show that the marketed medical device cannot guarantee safety and effectiveness, the medical device registration certificate shall be revoked or the filing shall be cancelled.

The responsible drug administration department shall publish to the public the revoke of the registration certificate of medical devices and the cancellation of the filing timely. The medical device which registration certificate or filing has been revoked or cancelled shall not continue to be manufactured, imported, distributed or used.

Article 67 If medical device registrants or filing applicants find that the medical devices manufactured do not comply with mandatory standards, product technical requirements registered or filed or have other deficiencies, they shall immediately stop manufacturing, notify relevant distributing enterprises and usage units and consumers to stop distributing and using the medical device, recall marketed medical device and take remedy, destruction, and other measures appropriately, record relevant situations, publish relevant information, and report the recall and treatment of medical devices to the responsible drug administration department as well as the health authority.

In case the circumstance as specified in preceding clause exist with the medical device manufactured and distributed, medical device entrusted manufacturer and distributing enterprises shall immediately stop manufacturing, distribution, notify the medical device registrants or filing applicants, record matter concerning the stop manufacturing, distribution and notification. If medical device registrants or filing applicants deem that the medical device shall be recalled in accordance with the provisions of the preceding clause, the medical device shall be immediately recalled.

If medical device registrants, filing applicants, entrusted manufacturers and distributing enterprises fail to implement recall or stop manufacturing and distribution in accordance with the provisions in this Regulation, the responsible drug administration department may instruct the enterprises to recall or stop manufacturing and distribution.

Chapter VI Supervision and Inspection

Article 68 The State establishes a system of professional inspectors to strengthen the supervision and inspection of medical devices.

Article 69 The responsible drug administration department shall strengthen supervision and inspection on the medical device research, manufacturing, distributing activities and the medical device quality in the usage phase, and conduct focused supervision and management on the following matters:

(I)	Whether organize manufacture in accordance with the registered or filed product technical requirements;

(II)	Whether maintain effective operation of its quality management system;

(III)	Whether the manufacture and distributing conditions can comply with statutory requirements sustainably.

When necessary, the responsible drug administration department can conduct extended inspection over other relevant units and individuals that provide products or services for the research, manufacture, distribution and use of medical devices.

Article 70 The responsible drug administration department has the following authority in supervision and inspection:

(I)	Enter sites and carry out on-site inspection and take samples;

(II)	Review, copy, seal up, and detain relevant contract, bill, account book and other relevant materials;

(III)	Seal up and detain the medical devices not complying with statutory requirements, illegally used parts and components, raw materials, and tools and equipment used for illegal manufacturing or distributing of medical devices;

(IV)	Seal up the sites engaging in manufacturing and distributing activities of medical devices in violation of the provisions of this Regulation.

During supervision and inspection, law enforcement certificate shall be show and trade secrets of the unit being inspected shall be safeguarded.

Relevant units and individuals shall coordinate with the supervision and inspection, and provide relevant documents and information and shall not conceal, refuse or obstruct it.

Article 71 The health authority shall strengthen supervision and inspection over the use of medical devices in medical institutions. When carrying out supervision and inspection, they may enter medical institutions to check and copy relevant archives, records and other relevant materials.

Article 72 If there are potential risks of product quality and safety in the process of manufacturing and distribution of medical devices and no timely measures are taken to eliminate them, the responsible drug administration department may take such measures as warning, responsibility interview, instructing rectification within a time limit, etc.

For the medical devices that are harmful for human health or proven as possibly harmful for human health, the responsible drug administration department may adopt emergency control measures to instruct suspending medical device manufacture or import, distributing and use, and issue safety warning information.

Article 73 The responsible drug administration department shall strengthen and conduct spot check on the medical devices manufactured, distributed, and used by medical device registrants, filing applicants, manufacturers, distributing enterprises and usage units. Inspection expenses and any other fees shall not be collected for the spot check. The expenses required shall be enlisted in the government budget at the same level. The drug administration department of the government at or above the provincial level shall timely publish medical device quality announcement in accordance with the conclusion of the spot check.

The health authority shall supervise and evaluate the usage status of large medical equipment, and do timely corrections and offer punishments in accordance with the law once any violations against rules, or excessive inspection and treatment concerning such large medical equipment are found.

Article 74 If the department responsible for drug administration fails to timely discover the systemic safety risks of medical devices and fails to timely eliminate the potential safety risks of medical devices within the supervision and administration area, the people's government at the same level or the department responsible for drug administration of the people's government at a higher level shall make an interview with its main responsible person.

Where the local people's government fails to perform its duty of safety assurance of medical devices and fails to eliminate in a timely manner the major regional potential risk of safety of medical devices, the people's government at a higher level or the drug administration department of the people's government at a higher level shall make an interview with its main responsible person.

The interviewed departments and local people's governments shall immediately take measures to rectify the administration of medical devices.

Article 75 The qualification verification of medical device testing institution shall be uniformly administered in accordance with the relevant provisions of the State. Only the testing institution confirmed by the certification and accreditation regulatory authority under the State Council together with the drug administration department under the State Council can carry out the inspection of medical devices.

If the responsible drug administration department need to conduct inspection on medical devices during law enforcement, it shall entrust the qualified medical device testing institution to conduct the inspection and pay the relevant expenses.

If the party concerned has any objection against the inspection conclusion, it may, within 7 working days from the date of receipt of the inspection conclusion, submit an application for re-inspection to the department conducting spot check or the department in charge of drug administration at the next higher level. And the department accepting the re-inspection application shall randomly designate the re-inspection institution in the list of re-inspection institutions for re-inspection. The medical device inspection institution that undertakes the re-inspection shall make a re-inspection conclusion within the time limit prescribed by the drug administration department under the State Council. The re-inspection conclusion shall be the final inspection conclusion. The re-inspection institution and the preliminary inspection institution may not be the same one. If there is only one qualified inspection institution for the relevant inspection items, the department or personnel in charge shall be changed during the re-inspection. The list of re-inspection institutions shall be published by the drug administration department under the State Council.

Article 76 For medical devices possibly containing harmful substance or with changes to the design, raw materials, and production process without authorization which may have potential safety issues, the testing cannot be conducted according to the testing items and methods specified in national standard or industrial standard, the medical device testing institutions can conduct testing by using the supplementary testing items and methods approved by the drug administration department under the State Council; the conclusion of the testing obtained through above supplementary testing items and methods may be used as the basis for the drug administration department to determine the quality of medical devices.

Article 77 The department of the administration for market regulations (AMR) shall conduct supervision and inspection on medical device advertisement and investigate and deal with illegal act in accordance with provisions of the laws and administrative regulations related to the supervision of advertisement.

Article 78 The responsible drug administration department shall timely publish supervision and management information including medical devices administrative licensing, filing, spot check, investigation on illegal act through the online government affairs service platform of the drug administration department under the State Council in accordance with the law. However, the information involving trade secrets of the client shall be kept confidential.

The responsible drug administration department shall establish credit archive system for medical devices registrant and filing applicant, manufacturers, distributing enterprises and usage units, and increase the supervision and inspection frequency on units that have a poor credit record, and strengthen punishment for trust-breaking according to law.

Article 79 The responsible drug administration department and relevant authorities shall public contact information; accept consultation, complaint, and informants. The responsible drug administration department and relevant departments shall timely reply upon receiving consultation related to medical device supervision and administration; timely verify, handle and reply upon receiving complaint and informants. The consultation, complaint, informants and their reply, verification, and treatment shall be properly recorded and kept.

If the informant concerning the medical device development, manufacturing, distributing, and use is verified after investigation, the drug administration department and relevant departments shall reward the whistleblower. The departments concerned shall keep the whistleblower confidential.

Article 80 When the catalog specified in this regulation and the policies relating to medical device supervision and management are formulated, adjusted or changed, the drug administration department under the State Council shall solicit public opinion; by way of hearing, discussion meeting, etc., hear the opinions from experts, medical device registrants, filing applicants, manufacturers, distributing enterprises and usage units, consumers, and relevant organizations, etc.

Chapter VII Legal Liability

Article 81 In any of the following circumstances, the responsible drug administration department shall confiscate the illegal income, the medical devices illegally manufactured and distributed, and the tools, equipment, raw materials, and other articles used for illegal manufacture and distribution; if the value of the medical devices illegally manufactured and distributed is less than RMB 10,000, a fine above RMB 50,000 but less than RMB 150,000 shall be imposed; if the value of the medical devices is above RMB 10,000, a fine more than 15 times but no more than 30 times of the value of the goods shall be imposed; in serious cases, instruct to suspend production and business, the license application of medical devices submitted by relevant responsible person and units shall not be accepted within ten years, in addition, the legal representative, main responsible person, directly responsible person in charge, and other responsible persons of the illegal unit shall be confiscated of the income received from the unit during the period of the illegal act, and shall be fined at least 30% but not more than 3 times the income, and shall be banned for life-long from being engaged in medical device manufacturing and distribution activities:

(I)	Manufacture and distribute Class II and Class III medical devices without obtaining the Registration Certificate for Medical Device;

(II)	Engage in the manufacturing activities of Class II and Class III medical devices without Manufacturing License;

(III)	Engage in the distributing activities of Class III medical devices without Distribution License.

In serious cases for this first Item, the Medical Device Manufacturing License and Medical Device Distribution License shall be revoked by original issuing authority.

Article 82 Those randomly equipped with the large medical equipment without approval shall be instructed to stop such application by the health authority of the people's government at above county level, which will give a warning and confiscate all illegal revenue; if such illegal revenue is less than RMB 10,000, a penalty between RMB 50,000 and RMB 100,000 shall be given; if such revenue is over RMB 10,000, a penalty equal to 10~30 times the illegal revenue shall be given; in serious cases, the application of relevant responsible persons and institutions for using large medical equipment shall be rejected for 5 years, in addition, the legal representative, main responsible person, directly responsible person in charge, and other responsible persons of the illegal unit shall be confiscated of the income received from the unit during the period of the illegal act, and shall be fined at least 30% but not more than 3 times the income, and shall be punished according to law.

Article 83 When any party apply for the medical devices administrative licenses by providing false information or other deceptive means, such administrative licenses application shall be rejected, and if the administrative license has been issued, it shall be revoked by the original issuing authority, the illegal income and the illegally manufactured and distributed medical devices shall be confiscated, and the license application of medical devices submitted by relevant responsible person and units shall not be accepted within ten years; if the value of the medical devices illegally manufactured and distributed is less than RMB 10,000, a fine above RMB 50,000 but less than RMB 150,000 shall be imposed; if the value of the medical devices is above RMB 10,000, a fine more than 15 times but no more than 30 times of the value of the goods shall be imposed; in serious cases, instruct to suspend production and business, in addition, the legal representative, main responsible person, directly responsible person in charge, and other responsible persons of the illegal unit shall be confiscated of the income received from the unit during the period of the illegal act, and shall be fined at least 30% but not more than 3 times the income, and shall be banned for life-long from being engaged in medical device manufacturing and distribution activities.

In case of falsifying, altering, buying or selling, leasing, and lending relevant medical device licenses, the licenses shall be taken back or revoked by the original issuing authority and the illegal income shall be confiscated; if the illegal income is less than RMB 10,000, a fine above RMB 50,000 but less than RMB 100,000 shall be imposed; if the illegal income is more than RMB 10,000, a fine at more than 10 times but less than 20 times of the illegal income shall be imposed; in case of constituting violation of the administration of public security, the public security punishment shall be imposed by public security authority in accordance with law.

Article 84 Under any of the following circumstances, the filing enterprises and the name of product shall be made public by the responsible drug administration department and shall instruct them to make corrections within a time limit; If no correction is made by the given timeline, the illegal income and the illegally manufactured and distributed medical devices shall be confiscated; if the value of the medical devices illegally manufactured and distributed is less than RMB 10,000, a fine above RMB 10,000 but less than RMB 50,000 shall be imposed; if the value of the medical devices is above RMB 10,000, a fine more than 5 times but no more than 20 times of the value of the goods shall be imposed; in serious cases, the legal representative, main responsible person, directly responsible person in charge, and other responsible persons of the illegal unit shall be confiscated of the income received from the unit during the period of the illegal act, and shall be fined at least 30% but not more than 2 times the income, and shall be banned for 5 years from being engaged in medical device manufacturing and distribution activities.

(I)	Manufacture and distribute Class I medical devices without obtaining the product filing record;

(II)	Engage in the manufacturing activities of Class I medical devices without obtaining manufacturing filing record;

(III)	Engage in the distributing activities of Class II medical devices for the conditions that shall filing but fails to do so.

(IV)	The filed documents do not meet the requirements.

Article 85 Where false documents are provided during archival filing, the filing enterprises and the name of product shall be made public by the responsible drug administration department, the illegal income and the illegally manufactured and distributed medical devices shall be confiscated; if the value of the medical devices illegally manufactured and distributed is less than RMB 10,000, a fine above RMB 20,000 but less than RMB 50,000 shall be imposed; if the value of the medical devices is above RMB 10,000, a fine more than 5 times but no more than 20 times of the value of the goods shall be imposed; in serious cases, instruct to suspend production and business, and the legal representative, main responsible person, directly responsible person in charge, and other responsible persons of the illegal unit shall be confiscated of the income received from the unit during the period of the illegal act, and shall be fined at least 30% but not more than 3 times the income, and shall be banned for 10 years from being engaged in medical device manufacturing and distribution activities.

Article 86 In any of the following circumstances, the responsible drug administration department shall instruct the party concerned to make correction, confiscate illegally manufactured, distributed and used medical devices; Those with the value of illegally manufactured, distributed and used medical devices less than RMB 10,000 shall be imposed a fine of more than RMB 20,000 and less than RMB 50,000; Those with the value of illegally manufactured, distributed or used medical devices more than RMB 10,000 shall be imposed a fine of more than 5 times but no more than 20 times of the value of the goods; in serious cases, the authority shall instruct the enterprise to stop manufacture and distribution until their Medical Device Registration Certificate, Medical Device Manufacturing License and Medical Device Distribution License are revoked by the original issuing authority, the legal representative, main responsible person, directly responsible person in charge, and other responsible persons of the illegal unit shall be confiscated of the income received from the unit during the period of the illegal act, and shall be fined at least 30% but not more than 3 times the income, and shall be banned for 10 years from being engaged in medical device manufacturing and distribution activities:

(I)	Manufacture, distribute and use medical devices that are not conforming to the mandatory standards or product technical requirements registered or filed;

(II)	Failed to organize medical device manufacture in accordance with the product technical requirement registered or filed, or failed to establish and operate a quality management system in accordance with the provisions in this Regulation which impact the safety and effectiveness of the product;

(III)	Distribute and use the medical devices without qualified certificate, or use expired, invalid and obsolete medical devices, or use the medical devices not legally registered;

(IV)	Refuse to recall or stop manufacture, import, distribution of medical devices even though they are instructed by the responsible drug administration department;

(V)	Authorize manufacture to the manufacturers that do not have the qualifications specified in this Regulation, or fail to manage the manufacture behavior of the entrusted party in accordance with the provisions in this Regulation.

(VI)	Import expired, invalid and obsolete medical devices that have already been used.

Article 87 If the distributing enterprises and usage units of such medical devices have conducted incoming inspections and other obligations prescribed in this Regulation, and can provide sufficient evidences to prove that they are not aware that the medical devices they have distributed and used meet the conditions stated in item (I) of Article 81, item (I) of Article 84, item (I) and (III) of Article 86, and can provide the actual source of those goods, the illegal medical devices they have distributed and used shall be confiscated in accordance with the law, and can be exempted from administrative penalty.

Article 88 In any of the following circumstances, the responsible drug administration department shall instruct the party concerned to make correction, and a fine above RMB 10,000 but less than RMB 50,000 shall be imposed; in case the concerned party refused to make correction, a fine above RMB 50,000 but less than RMB 100,000 shall be imposed; in serious case, the manufacture shall be instructed to stop business until the Medical Device Manufacturing License and the Medical Device Distribution license are revoked by the original issuing authority, the legal representative, main responsible person, directly responsible person in charge, and other responsible persons of the illegal unit shall be confiscated of the income received from the unit during the period of the illegal act, and shall be fined at least 30% but not more than 2 times the income, and shall be banned for 5 years from being engaged in medical device manufacturing and distribution activities:

(I)	The manufacture conditions change and do not comply with requirements of medical devices quality management system but fail to take rectification measures, stop manufacture or report in accordance with the provisions of this Regulation;

(II)	Manufacture and distribution instructions and labels not complying with the provisions of this regulation;

(III)	Failure to transport and/or store medical devices in accordance with the requirements indicated on the instructions and labels of medical devices;

(IV)	Transfer expired, invalid, obsolete or unqualified medical devices.

Article 89 In any of the following circumstances, the drug administration department and health authority shall instruct the party concerned to make correction and give a warning in accordance with their respective responsibilities; in case the concerned party refused to make correction, a fine above RMB 10,000 but less than RMB 100,000 shall be imposed; in serious cases, the manufacture and business shall be stopped to the extent that the Medical Device Registration Certificate, Medical Device Manufacturing License and the Medical Device Distribution License are revoked by the original issuing authority, the legal representative, main responsible person, directly responsible person in charge and other responsible persons of the illegal unit shall be fined above RMB 10,000 but less than RMB 30,000 :

(I)	Fails to submit quality management system self-inspection report in accordance with the requirements;

(II)	Purchase medical devices from suppliers who do not have legal qualifications;

(III)	Medical device distributing enterprises and usage units fail to establish and implement medical device incoming inspection and recording system in accordance with the provisions in this Regulation;

(IV)	Class II and Class III medical device distributing enterprises engaged in wholesale business and Class III medical devices distributing enterprises engaged in retail business fail to establish and implement sales recording system in accordance with the provisions in this Regulation;

(V)	Medical device registrants, filing applicants, manufacturers, distributing enterprises and usage units fail to conduct adverse event monitoring in accordance with the provisions of this Regulation, fail to report adverse event in accordance with requirements, or refuse to coordinate the investigation on adverse event conducted by medical device adverse event monitoring technical institution, the responsible drug administration department and health authority.

(VI)	Registrants and filing applicants fail to formulate post-market research and risk management plans and ensure their effective implementation in accordance with relevant provisions;

(VII)	Registrants and filing applicants fail to establish and implement the product traceability system in accordance with the provisions;

(VIII)	Registrants, filing applicants and distributing enterprises fail to notify the responsible drug administration department in accordance with the provisions when engaging in network distribution of medical devices;

(IX)	Medical devices usage units fail to check, inspect, calibrate, maintain the medical devices that routinely need to be checked, inspected, calibrated and maintained in accordance with the instruction for use (IFU) of medical devices, and fail to take records and conduct timely assessment and evaluation to ensure that the device is in good condition;

(X)	Medical devices usage units fail to maintain the original purchase record of Class III medical device.

Article 90 In any of the following circumstances, the health authority of the government at county level and above shall instruct the party concerned to make correction and give a warning; in case the concerned party refused to make correction, a fine above RMB 50,000 but less than RMB 100,000 shall be imposed; in serious cases, a fine above RMB 100,000 but less than RMB 300,000 shall be imposed, and shall be instructed to suspend the relevant medical devices using activity to the extent that the Practicing License is revoked by the original issuing authority, and the relevant responsible personnel shall be suspended from practicing for more than 6 months but less than 1 year, until the original certificate issuing authority revokes the license for practicing. The income obtained from the units during the period of the illegal act of the legal representative, principal responsible person, direct responsible person in charge and other responsible person of the illegal units shall be confiscated, and be fined not less than 30% and not more than 3 times of the income obtained, and shall be punished according to law:

(I)	Medical Device usage units fail to process the reusable medical devices in accordance with the provisions regarding device serialization and management;

(II)	Medical Device usage units re-use the disposal medical devices, or fail to destroy used disposal medical devices in accordance with related provisions;

(III)	Medical devices usage units fail to add the related information of the large medical equipment and implementable and intervene medical device into the medical record;

(IV)	Medical devices usage units fail to stop using, call for device aftersales maintenance when figure out the device in use might have potential safety risks, or keep using the device which still cannot meet related safety standards after overhaul;

(V)	The medical device usage units violate the rules by applying large medical equipment and fail to guarantee the medical quality and security;

Article 91 Those who import medical devices in violation of the relevant laws and administrative regulations on import and export commodity inspection shall be dealt with by the entry-exit inspection and quarantine authorities according to law.

Article 92 If an e-commerce platform operator who provides services for medical device online transactions violates the provisions of this Regulation, fails to perform the administrative obligations for real name registration, reviewing the license, registration and filing status, stopping and reporting illegal acts and ceasing to provide online trading platform services, it shall be punished by the responsible drug administration department in accordance with the E-commerce Law of the People’s Republic of China.

Article 93 If a clinical trial is carried out without the filing of a medical device clinical trial institution, the responsible drug administration department shall instruct it to stop the clinical trial and make rectifications; if it refuses to make rectifications, the clinical trial data shall not be used for product registration and filing, and the unit shall be fined not less than RMB 50,000 but not more than RMB 100,000, and the case shall be announced to the public; if serious consequences are caused, it shall be prohibited from carrying out relevant professional clinical trials of medical devices within five years and shall be fined not less than RMB 100,000 but no more than RMB 300,000. The health authority shall confiscate the income obtained from the unit during the period of the illegal act by the legal representative, main responsible person, direct responsible person in charge and other responsible persons of the illegal unit and impose a fine of more than 30% and less than 3 times of the income, and punishment shall be given according to law.

If a clinical trial sponsor carries out a clinical trial without filing, the responsible drug administration department shall instruct the sponsor to stop the clinical trial, impose a fine of not less than RMB 50,000 but not more than RMB 100,000 on the clinical trial sponsor, and make a public announcement; if serious consequences are caused, the sponsor shall be fined not less than RMB 100,000 but not more than RMB 300,000. The clinical trial data shall not be used for product registration and filing, and the medical device registration applications submitted by relevant responsible persons and the units will not be accepted within 5 years.

If the clinical trial sponsor carries out the clinical trial of Class III medical devices with high risk to human body without approval, the responsible drug administration department shall instruct the sponsor to stop the clinical trial immediately, impose a fine of not less than RMB 100,000 but not more than RMB 300,000 on the clinical trial sponsor, and make a public announcement; if serious consequences are caused, the sponsor shall be fined not less than RMB 300,000 but not more than RMB 1 million. The clinical trial data shall not be used for product registration, and the application for clinical trial and registration of medical devices submitted by relevant responsible persons and units shall not be accepted within 10 years. The income from the organization during the occurrence of the illegal act of the legal representative, main responsible person, direct responsible person in charge and other responsible persons of the illegal units shall be confiscated, and a fine of more than 30% and less than 3 times of the income shall be imposed.

Article 94 If a medical device clinical trial institution fails to comply with the Good Clinical Practices for Medical Devices , the responsible drug administration department shall instruct it to make rectifications or immediately stop the clinical trial, and impose a fine of not less than RMB 50,000 but not more than RMB 100,000; if serious consequences are caused, it shall be banned from carrying out clinical trials of relevant professional medical devices within five years, the legal representative, main responsible person, directly responsible person in charge, and other responsible persons of the illegal unit shall be confiscated of the income received from the unit during the period of the illegal act, and shall be fined at least 30% but not more than 3 times the income, and the punishment will be imposed by the health authority in accordance with law.

Article 95 For clinical trials institutions issuing spurious reports, a fine above RMB 100,000 but less than RMB 300,000 shall be imposed by the responsible drug administration department; if there is any illegal income, the illegal income shall be confiscated; such institutions shall be banned from carrying out the medical devices clinical trials within 10 years; the legal representative, main responsible person, directly responsible person in charge, and other responsible persons of the illegal unit shall be confiscated of the income received from the unit during the period of the illegal act, and shall be fined at least 30% but not more than 3 times the income, and the punishment will be imposed by the health authority in accordance with law.

Article 96 For medical device testing institution issuing spurious testing report, the testing qualification shall be revoked by the qualification issuing authority, and the application of qualification verification from relevant responsible person and units will not be accepted within 10 years, a fine above RMB 100,000 but less than RMB 300,000 shall be imposed as well; if there is any illegal income, the illegal income shall be confiscated; the legal representative, main responsible person, directly responsible person in charge, and other responsible persons of the illegal unit shall be confiscated of the income received from the unit during the period of the illegal act, and shall be fined at least 30% but not more than 3 times the income. If the punishment of discharge is imposed, such persons shall not engage in the medical devices inspection within 10 years.

Article 97 Whoever violates the provisions of this Regulation on the administration of the advertisement of medical devices shall be punished in accordance with the Advertising Law of the People's Republic of China.

Article 98 If a domestic enterprise legal person designated by an overseas medical device registrants or filing applicants fails to perform relevant obligations in accordance with this Regulation, the drug administration department of the people's government of the province, autonomous region or municipality directly under the central government shall instruct it to make rectifications, give a warning and impose a fine of not less than RMB 50,000 but not more than RMB 100,000; in serious cases, it shall be fined not less than RMB 100,000 but not more than RMB 500,000, and its legal representative, main responsible person, direct responsible person in charge and other responsible persons shall be prohibited from being engaged in the manufacture and distribution of medical devices within 5 years.

If the overseas medical device registrants and filing applicants refuse to execute the administrative penalty decisions made in accordance with this Regulation, the import of such medical devices shall be prohibited within 10 years.

Article 99 If the research unit, manufacturer, distributing enterprise and testing institution of medical devices violate the provisions of this Regulation by hiring personnel who are prohibited from engaging in the manufacture, distribution and testing of medical devices, the department in charge of drug administration shall instruct them to make rectifications and give them a warning; if they refuse to make rectifications, they shall be instructed to stop production or business or even their license will be revoked.

Article 100 Medical device technical review institutions and medical device adverse event monitoring institutions fail to carry out the work in accordance with the provisions in this Regulation, or have been seriously irresponsible which results in major mistakes in evaluation and monitoring, the responsible drug administration department shall instruct them to make correction, circulate a notice of criticism, or give a warning; in case of serious consequences are caused, the punishment shall be imposed on the legal representative, main responsible person, directly responsible person in charge, and other responsible persons of the illegal unit in accordance with law.

Article 101 Any staff member of the department in charge of drug administration or other relevant departments who, in violation of the provisions of this Regulation, abuses his/her power, neglects his/her duty or engages in malpractice for personal gain, shall be punished according to law.

Article 102 In case of violating the provisions of this Regulation and constituting crime, the criminal responsibility shall be investigated in accordance with law; in case of causing personal, property or other damages, the responsibility for compensation shall be borne in accordance with law.

Chapter VIII Supplementary Provisions

Article 103 The terms referred in this Regulation shall be defined as following:

“Medical devices” refer to instrument, equipment, appliance, in vitro diagnostic reagent and its calibrator, material, and other similar or relevant articles including necessary computer software, directly or indirectly contacting human body; the effectiveness are obtained mainly through physical means other than pharmacological, immunological or metabolic ways, or such ways are involved in but only play auxiliary roles; which is used to achieve the following intended outcomes:

(I)	Diagnosis, prevention, monitoring, treatment or alleviation of diseases;

(II)	Diagnosis, monitoring, treatment, alleviation or functional compensation for an injury;

(III)	Examination, substitution, regulation or support of physiological structure or physiological process;

(IV)	Life support or life sustaining;

(V)	Pregnancy Control;

(VI)	Examination of the sample from human body to provide information for medical or diagnostic purpose.

The medical device registrant or filing applicant refers to an enterprise or research and development institution that has obtained a medical device registration certificate or a medical device filing record.

Medical device usage units refer to the institution that provide healthcare services including medical service to others with medical devices, including the medical institutions, service institution for family planning, blood station, sole plasma collection station, rehabilitation aid assembling institution, etc.

Large medical equipment refers to the large medical devices with complex technology, large capital input, high operating cost, great impact on the medical fee and included in the catalogue management.

Article 104 Registration of medical device can be chargeable. Specific charging items and related standards shall be formulated in accordance with relevant national provisions by the pricing and financing authorities under the State Council.

Article 105 The provisions for medical devices developed by healthcare institutes in responding to public emergency shall be formulated by the drug administration department under the State Council together with the health authority under the State Council.

The storage, allocation and supply of non-profit contraceptive medical devices shall comply with the provisions formulated by the health authority under the State Council jointly with the drug administration department under the State Council.

The technical guidelines for the medical devices of traditional Chinese medicine shall be formulated by the drug administration department under the State Council together with the traditional Chinese medicine management authority under the State Council.

Article 106 The supervision and administration of the use of military medical instruments shall be carried out in accordance with this Regulation and the relevant provisions of the armed forces.

Article 107 This Regulation shall come into force from June 1, 2021.